## Detailed Estimate
SR # | CSI SECT | DESCRIPTION | QUANTITY | WASTAGE (10%) | QTY WITH WASTAGE | UNIT OF MEASURMENT | UNIT LAB COST | TOTAL LAB HRS | UNIT MAT COST | UNIT COST (LAB+MAT) | TOTAL ITEM COST | TOTAL TRADE COST
| DIV.01 | GENERAL CONDITIONS | [9 empty] | 0
1 |  | PERMITS DOCUMENTATION AND FEES | 1 | 0% | 1 | LS |  |  |  |  | 0
2 |  | HAZARDOUS WASTE OR DISPOSAL WORK | 1 | 0% | 1 | LS |  |  |  |  | 0
3 |  | OWNER PURCHASED, CONTRACTOR INSTALLED ITEMS | 1 | 0% | 1 | LS |  |  |  |  | 0
4 |  | CONTRACTORS USE OF NEW AND EXISTING FACILITIES | 1 | 0% | 1 | LS |  |  |  |  | 0
5 |  | CORRECTION OF UNSATISFACTORY CONDITIONS | 1 | 0% | 1 | LS |  |  |  |  | 0
6 |  | RESTORATION OF UNIT DAMAGED DURING INSTALLATION | 1 | 0% | 1 | LS |  |  |  |  | 0
7 |  | REPLACEMENT OF UNITS WHICH CANNOT BE RESTORED | 1 | 0% | 1 | LS |  |  |  |  | 0
8 |  | MAINTAINING EXISTING CONSTRUCTION IN WEATHER HIGHT CONDITIONS | 1 | 0% | 1 | LS |  |  |  |  | 0
9 |  | LAND SCAPING | 1 | 0% | 1 | LS |  |  |  |  | 0
10 |  | DOOR HARDWARE | 1 | 0% | 1 | LS |  |  |  |  | 0
11 |  | SIGNAGE | 1 | 0% | 1 | LS |  |  |  |  | 0
12 |  | SUPERVISORY PERSONNEL | 1 | 0% | 1 | LS |  |  |  |  | 0
TEMPORARY SERVICES
13 |  | WATER | 1 | 0% | 1 | LS |  |  |  |  | 0
14 |  | LIGHTING AND POWER | 1 | 0% | 1 | LS |  |  |  |  | 0
15 |  | TOILET FACILITIES | 1 | 0% | 1 | LS |  |  |  |  | 0
16 |  | MATERIAL STORAGE | 1 | 0% | 1 | LS |  |  |  |  | 0
CONSTRUCTION FACILITIES
17 |  | DEWATERING | 1 | 0% | 1 | LS |  |  |  |  | 0
18 |  | ELEVATORS | 1 | 0% | 1 | LS |  |  |  |  | 0
19 |  | ACCESS WAYS AND REPAIR OF THEM | 1 | 0% | 1 | LS |  |  |  |  | 0
20 |  | FIRE EXTINGUISHERS | 1 | 0% | 1 | LS |  |  |  |  | 0
21 |  | SITE ENCLOSURE FENCE, SIGNS | 1 | 0% | 1 | LS |  |  |  |  | 0
22 |  | CONTRACTOR FIELD OFFICE | 1 | 0% | 1 | LS |  |  |  |  | 0
23 |  | CLEANING | 1 | 0% | 1 | LS |  |  |  |  | 0
CONSTRUCTION AIDS
24 |  | SCAFFOLDINGS AND PLATEFORMS | 1 | 0% | 1 | LS |  |  |  |  | 0
25 |  | CRANES | 1 | 0% | 1 | LS |  |  |  |  | 0
26 |  | SWING STAGING | 1 | 0% | 1 | LS |  |  |  |  | 0
27 |  | BUILDING KEYS | 1 | 0% | 1 | LS |  |  |  |  | 0
28 |  | COMMUNICATION/ EXCESS DEVICES | 1 | 0% | 1 | LS |  |  |  |  | 0
29 |  | CONTRACTOR'S SAFETY PROGRAM | 1 | 0% | 1 | LS |  |  |  |  | 0
| DIV. 02 | EXISTING CONDITIONS | [9 empty] | 0
LANDSCAPE PLAN
30 |  | PX: Philodendron Xanadu, ( Xanadu Philodendron Common Name ) | 10 | 0% | 10 | EA |  |  |  |  | 0
31 |  | Juniperus Parsoni, ( Parsons Juniper Common Name, 12" SPR ) | 170 | 0% | 170 | EA |  |  |  |  | 0
32 |  | MUH: Muhlenbergia Capillaris, ( Muhly Grass Common Name ) | 19 | 0% | 19 | EA |  |  |  |  | 0
33 |  | SAR: Schefflera Arboricola, ( Dwarf Schefflera Common Name ) | 19 | 0% | 19 | EA |  |  |  |  | 0
34 |  | IVP: Ilex Vomtoria 'Pendula', ( Weeping Yaupon Holly, 10' Height ) | 2 | 0% | 2 | EA |  |  |  |  | 0
35 |  | MSC: Microsorum Scolopendrium. ( Wart Fern Common Name, 8" SPR ) | 25 | 0% | 25 | EA |  |  |  |  | 0
36 |  | TJV: trachelospermum JAS. Varigated, ( Varigated Confederate Jasmine Coomon Name ) | 285 | 0% | 285 | EA |  |  |  |  | 0
37 |  | SP: Sabal Palmetto, ( Cabbage Palm Common name ) | 4 | 0% | 4 | EA |  |  |  |  | 0
38 |  | WB: Wodyetia Bifurcata, ( Foxtail Plam Common name ) | 6 | 0% | 6 | EA |  |  |  |  | 0
39 |  | POM, Podocarpus macrophylla, ( Podocarpus Common Name ) | 65 | 0% | 65 | EA |  |  |  |  | 0
40 |  | ED: Elaeocaprus Decipens, ( Japanese Blueberry Common Name, 10' Height ) | 7 | 0% | 7 | EA |  |  |  |  | 0
41 |  | DTV: Dianella Tasmancia, ( Blueberry Flax Lily, 16" Height ) | 81 | 0% | 81 | EA |  |  |  |  | 0
42 |  | LOS: Lonicera Sempervirens. ( Coral Honeysuckle Common Nam e) | 9 | 0% | 9 | EA |  |  |  |  | 0
43 |  | CA: Crinum Asiaticum, ( Queen Emma crinum Lily Common Name, 36" SPR ) | 1 | 0% | 1 | EA |  |  |  |  | 0
44 |  | Jatropha Integerrima Compacta, ( Jathropa Common Name, 5' Height ) | 1 | 0% | 1 | EA |  |  |  |  | 0
IRREGATION PLAN
45 |  | Irregation Main Line: 2" Scedule 40 PVC | 159.58 | 10% | 175.538 | LF |  |  |  |  | 0
46 |  | Irregation Zone Control Valve | 3 | 0% | 3 | EA |  |  |  |  | 0
47 |  | Planter Area | 1507 | 10% | 1657.7 | SF |  |  |  |  | 0
48 |  | 72" Sitting Bench | 1 | 0% | 1 | EA |  |  |  |  | 0
49 |  | Trash Receptacle | 1 | 0% | 1 | EA |  |  |  |  | 0
DEMOLITION
50 |  | Removal of 1" PO | 1 | 0% | 1 | EA |  |  |  |  | 0
51 |  | Removal & Relocate Existing Power Pole | 1 | 0% | 1 | EA |  |  |  |  | 0
52 |  | Removal of Brick Walk-Way | 5264 | 10% | 5790.4 | SF |  |  |  |  | 0
53 |  | Removal of Ex. Tree | 2 | 0% | 2 | EA |  |  |  |  | 0
54 |  | Removal of Existing 9" Dia Post | 1 | 0% | 1 | EA |  |  |  |  | 0
SITE PLAN
55 |  | 24" Wide White Stop Bar & Stop Sign | 1 | 0% | 1 | EA |  |  |  |  | 0
56 |  | 3" Meter | 1 | 0% | 1 | EA |  |  |  |  | 0
57 |  | 4" Gate Valve | 1 | 0% | 1 | EA |  |  |  |  | 0
58 |  | 4" Proposed Fire Line Pipe | 93.27 | 10% | 102.597 | LF |  |  |  |  | 0
59 |  | 4" Water Liine Pipe | 53.47 | 10% | 58.817 | LF |  |  |  |  | 0
60 |  | 6' High Fence | 192.44 | 10% | 211.684 | LF |  |  |  |  | 0
61 |  | 6" Fire Flow Assembly | 2 | 0% | 2 | EA |  |  |  |  | 0
62 |  | 6" Gate Valve | 5 | 0% | 5 | EA |  |  |  |  | 0
63 |  | 6" Proposed Fire Line Pipe | 135.48 | 10% | 149.028 | LF |  |  |  |  | 0
64 |  | 6" Reveal on Ex. Granite Curb | 260.37 | 10% | 286.407 | LF |  |  |  |  | 0
65 |  | 6" water Line Pipe | 634.46 | 10% | 697.906 | LF |  |  |  |  | 0
66 |  | 6"X6" Tapping Sleeve | 3 | 0% | 3 | EA |  |  |  |  | 0
67 |  | 6"X6"X4" Tee | 2 | 0% | 2 | EA |  |  |  |  | 0
68 |  | Asphalt DriveWay | 2900 | 10% | 3190 | SF |  |  |  |  | 0
69 |  | Brick WalkWay | 5210 | 10% | 5731 | SF |  |  |  |  | 0
70 |  | Cholrine Tap | 1 | 0% | 1 | EA |  |  |  |  | 0
71 |  | City Commercial Driveway | 262 | 10% | 288.2 | SF |  |  |  |  | 0
72 |  | Conc. Pad For Fire | 20 | 10% | 22 | SF |  |  |  |  | 0
73 |  | Conc. Side Walk | 2193 | 10% | 2412.3 | SF |  |  |  |  | 0
74 |  | Concrete Pad for Meters | 59 | 10% | 64.9 | SF |  |  |  |  | 0
75 |  | Curb Transition | 6 | 10% | 6.6 | LF |  |  |  |  | 0
76 |  | Drop Curb @ Driveway | 42.7 | 10% | 46.97 | LF |  |  |  |  | 0
77 |  | Dry Pond | 730 | 10% | 803 | SF |  |  |  |  | 0
78 |  | Proposed Fire Hydrant Assembly | 1 | 0% | 1 | EA |  |  |  |  | 0
79 |  | Removal of Existing Fence W/ Gate | 252.99 | 10% | 278.289 | LF |  |  |  |  | 0
80 |  | Removal of Granite Curb | 14.67 | 10% | 16.137 | LF |  |  |  |  | 0
81 |  | Retaining Wall around Dry Pond | 192.44 | 10% | 211.684 | LF |  |  |  |  | 0
82 |  | Rip Rap | 64 | 10% | 70.4 | SF |  |  |  |  | 0
83 |  | Sanitary Sewer Cleanout | 1 | 0% | 1 | EA |  |  |  |  | 0
84 |  | Sanitary Sewer manHole | 1 | 0% | 1 | EA |  |  |  |  | 0
85 |  | Saw Cut & Remove Ex. Asphalt Pavement & Base Material | 6503 | 10% | 7153.3 | SF |  |  |  |  | 0
86 |  | Silt Fence | 558.67 | 10% | 614.537 | LF |  |  |  |  | 0
87 |  | Storm Drainage Inlet | 2 | 0% | 2 | EA |  |  |  |  | 0
88 |  | Storm Drainage Manhole | 2 | 0% | 2 | EA |  |  |  |  | 0
89 |  | Storm Drainage Pipe | 186.3 | 10% | 204.93 | LF |  |  |  |  | 0
90 |  | Temp. Below-off & Sample P.T | 1 | 0% | 1 | EA |  |  |  |  | 0
91 |  | Transformer Pad | 36 | 10% | 39.6 | SF |  |  |  |  | 0
92 |  | Truncated Dome Tactile Surface | 21 | 10% | 23.1 | SF |  |  |  |  | 0
| DIV. 03 | CONCRETE | [9 empty] | 0
CONCRETE FOOTING
93 |  | WF-20: Wall Foundation Concrete W/ #4 @16" O.C & 3-#5 Bar Cont. | 31.0741 | 10% | 34.1815 | CY |  |  |  |  | 0
94 |  | WF-24: Wall Foundation Concrete W/ #4 @16" O.C & 3-#5 Bar Cont. | 52.1481 | 10% | 57.363 | CY |  |  |  |  | 0
95 |  | GB-1: Foundation Concrete | 6.2593 | 10% | 6.8852 | CY |  |  |  |  | 0
SHEAR WALLS
96 |  | SW-1 ( Shear Wall Conc.), 16" Thick, 112' Hight | 82.963 | 10% | 91.2593 | CY |  |  |  |  | 0
97 |  | SW-2 ( Shear Wall Conc.), 16" Thick, 112' Hight | 60.8395 | 10% | 66.9235 | CY |  |  |  |  | 0
98 |  | SW-3 ( Shear Wall Conc.), 16" Thick, 112' Hight | 110.6726 | 10% | 121.7399 | CY |  |  |  |  | 0
99 |  | SW-4 ( Shear Wall Conc.), 16" Thick, 112' Hight | 79.8657 | 10% | 87.8522 | CY |  |  |  |  | 0
100 |  | SW-5 ( Shear Wall Conc.), 10" Thick, 112' Hight | 262.9407 | 10% | 289.2348 | CY |  |  |  |  | 0
101 |  | SW-6 ( Shear Wall Conc.), 8" Thick, 112' Hight | 24 | 10% | 26.4 | CY |  |  |  |  | 0
CONCRETE SLAB
102 |  | 6" Conc. Slab on Grade W/ 6X6 - W2.9XW2.9 WWF Rebars | 13862 | 10% | 15248.2 | SF |  |  |  |  | 0
103 |  | 8-1/2" Post Tension Conc. Slab Reinforced W/ #4 @ 20" O.C Bot. E.W | 93104 | 10% | 102414.4 | SF |  |  |  |  | 0
104 |  | 7" Pour Concrete #4 @ 12" O.C Mid Span E.W | 319.3051 | 10% | 351.2356 | SF |  |  |  |  | 0
105 |  | 16" Post Tension Conc. Slab Reinf. W/ # 4 @ 20" O.C Bot. E.W (1) | 4800 | 10% | 5280 | SF |  |  |  |  | 0
106 |  | 6" Concrete Slab Reinforced W/ #5 @ 12" O.C (1) | 500 | 10% | 550 | SF |  |  |  |  | 0
CONCRETE WALL
107 |  | 8" Impact Conc. Wall | 241.8789 | 10% | 266.0668 | CY |  |  |  |  | 0
COLUMN CONCRETE
108 |  | Tie Column Concrete | 63.8537 | 10% | 70.2391 | CY |  |  |  |  | 0
109 |  | 34" Dia Column ( 83'-4"' ) W/ 18 #9 & #3 @ 10" o.C Rebars | 19.46 | 10% | 21.406 | CY |  |  |  |  | 0
110 |  | 12"X24" Column ( 29'-0"' ) W/ 6 #7 & #3 @ 10" o.C Rebars | 4.3 | 10% | 4.73 | CY |  |  |  |  | 0
111 |  | 30"X12" Column ( 63'-0"' ) W/ 10 #7 & #3 @ 10" o.C Rebars | 5.833 | 10% | 6.4163 | CY |  |  |  |  | 0
112 |  | 30"X16" Column ( 10'-0"' ) W/ 12 #7 & #3 @ 10" o.C Rebars | 1.235 | 10% | 1.3585 | CY |  |  |  |  | 0
113 |  | 30"X16" Column ( 23.5' ) W/ 12 #7 & #3 @ 10" o.C Rebars | 23.2 | 10% | 25.52 | CY |  |  |  |  | 0
114 |  | 30"X16" Column ( 23'-6"' ) W/ 12 #7 & #3 @ 10" o.C Rebars | 8.7 | 10% | 9.57 | CY |  |  |  |  | 0
115 |  | 30"X16" Column ( 33'-8"' ) W/ 12 #7 & #3 @ 10" o.C Rebars | 12.5 | 10% | 13.75 | CY |  |  |  |  | 0
116 |  | 30"X16" Column ( 63'-0"' ) W/ 12 #7 & #3 @ 10" o.C Rebars | 7.78 | 10% | 8.558 | CY |  |  |  |  | 0
117 |  | 30"X16" Column ( 63'-0"' ) W/ 12 #8 & #3 @ 10" o.C Rebars | 70 | 10% | 77 | CY |  |  |  |  | 0
118 |  | 30"X16" Column ( 83'-4"' ) W/ 16 #9 & #3 @ 10" o.C Rebars | 20.58 | 10% | 22.638 | CY |  |  |  |  | 0
119 |  | 30"X16" Column ( 83'-4"' ) W/ 18 #10 & #3 @ 10" o.C Rebars | 10.3 | 10% | 11.33 | CY |  |  |  |  | 0
120 |  | 30"X8" Column ( 33'-8"' ) W/ 8 #7 & #3 @ 10" o.C Rebars | 2 | 10% | 2.2 | CY |  |  |  |  | 0
121 |  | 34" Dia Column ( 33'-8"' ) W/ 12 #8 & #3 @ 10" o.C Rebars | 7.86 | 10% | 8.646 | CY |  |  |  |  | 0
122 |  | 34"X16" Column ( 112'-0"' ) W/ 18 #10 & #3 @ 10" o.C Rebars | 15.7 | 10% | 17.27 | CY |  |  |  |  | 0
123 |  | 52"X12" Column ( 63'-0"' ) W/ 12 #9 & #3 @ 10" o.C Rebars | 10.11 | 10% | 11.121 | CY |  |  |  |  | 0
BEAM CONCRETE
124 |  | 2B-1 Concrete Beam W/ 5#9 @ Bottom & 5#9 @ Top | 10 | 10% | 11 | CY |  |  |  |  | 0
125 |  | 3B-2 Concrete Beam W/ 3#8 @ Bottom & 3#8 @ Top | 0.87 | 10% | 0.957 | CY |  |  |  |  | 0
126 |  | 3B-3 Concrete Beam W/ 3#8 @ Bottom & 3#8 @ Top | 0.9 | 10% | 0.99 | CY |  |  |  |  | 0
127 |  | 4B-1 Concrete Beam W/ 2#8 @ Bottom & 2#8 @ Top | 4.45 | 10% | 4.895 | CY |  |  |  |  | 0
128 |  | B-1 Concrete Beam W/ 2#8 @ Bottom & 2#8 @ Top | 2.19 | 10% | 2.409 | CY |  |  |  |  | 0
129 |  | B-2 Concrete Beam W/ 2#8 @ Bottom & 2#8 @ Top | 19.3 | 10% | 21.23 | CY |  |  |  |  | 0
130 |  | B-3 Concrete Beam W/ 2#7 @ Bottom & 2#7 @ Top | 8.7 | 10% | 9.57 | CY |  |  |  |  | 0
131 |  | B-4 Concrete Beam W/ 2#7 @ Bottom & 2#7 @ Top | 4.9 | 10% | 5.39 | CY |  |  |  |  | 0
132 |  | B-5 Concrete Beam W/ 2#8 @ Bottom & 2#8 @ Top | 2.8 | 10% | 3.08 | CY |  |  |  |  | 0
133 |  | B-7 Concrete Beam W/ 2#7 @ Bottom & 2#7 @ Top | 0.4 | 10% | 0.44 | CY |  |  |  |  | 0
134 |  | LB-1 Concrete Beam W/ 2#7 @ Bottom & 2#7 @ Top | 6 | 10% | 6.6 | CY |  |  |  |  | 0
135 |  | 8" tie Beam ( 8" Depth ) | 3.1 | 10% | 3.41 | CY |  |  |  |  | 0
PILES
136 |  | Pile Cap Concrete | 586.0741 | 10% | 644.6815 | CY |  |  |  |  | 0
137 |  | Concrete for 16" AugerCasr Piles ( 80' Depth ) W/ 1-#10 Full Length Bar, #3 Ties @ 12" O.C | 906 | 10% | 996.6 | CY |  |  |  |  | 0
CONCRETE CAP ON CMU WALL
138 |  | 8" X 8" Concrete Cap on CMU Wall | 10.6581 | 10% | 11.7239 | CY |  |  |  |  | 0
CONCRETE CURB
139 |  | Concrete Curb @ Terrace | 49.23 | 10% | 54.153 | LF |  |  |  |  | 0
CONCRETE STAIRS
140 |  | 5" Riser Concrete Stairs | 209 | 0% | 209 | RISER |  |  |  |  | 0
141 |  | 7" Riser Concrete Stairs | 209 | 0% | 209 | RISER |  |  |  |  | 0
| DIV. 04 | MASONRY | [9 empty] | 0
142 |  | 8" CMU Wall | 48188.125 | 10% | 53006.9375 | SF |  |  |  |  | 0
| DIV. 05 | METALS | [9 empty] | 0
BEAMS & RAILINGS
143 |  | 36" High Metal Railing | 22 | 10% | 24.2 | LF |  |  |  |  | 0
144 |  | 42" High Balcony Metal Railing | 638 | 10% | 701.8 | LF |  |  |  |  | 0
145 |  | W8X18 Beam | 61 | 10% | 67.1 | LF |  |  |  |  | 0
| DIV. 07 | THERMAL & MOISTURE PROTECTION | [9 empty] | 0
INSULATIONS @ FLOORS
146 |  | 10 Mil Visqueen Vapor Barrier & 4" of Porous Fill | 13862 | 10% | 15248.2 | SF |  |  |  |  | 0
SIDINGS
147 |  | Alum. Decorative Screen W/ Powder Coating | 2905 | 10% | 3195.5 | SF |  |  |  |  | 0
148 |  | Painted Smooth Stucco Finish | 35926 | 10% | 39518.6 | SF |  |  |  |  | 0
149 |  | Wooden Window Trim | 3290 | 10% | 3619 | LF |  |  |  |  | 0
150 |  | Wooden Door Trim | 85 | 10% | 93.5 | LF |  |  |  |  | 0
ROOFING
151 |  | Single Ply TPO Roofing Membrane (Thermoplastic Polyolefin 60 MIL) | 7480 | 10% | 8228 | SF |  |  |  |  | 0
152 |  | 3'-6" Parapet Wall | 2005 | 10% | 2205.5 | SF |  |  |  |  | 0
153 |  | R19 Roof Insulation | 7480 | 10% | 8228 | SF |  |  |  |  | 0
154 |  | Base Flashing | 1432 | 10% | 1575.2 | SF |  |  |  |  | 0
155 |  | 8" Reinforced Concrete Caping | 573 | 10% | 630.3 | LF |  |  |  |  | 0
156 |  | Roof Drains | 8 | 0% | 8 | EA |  |  |  |  | 0
|  | UNIT TYPES | [9 empty] | 0
UNITS-A1
157 |  | Ext Stucco Finish Primed & Painted | 2088 | 10% | 2296.8 | SF |  |  |  |  | 0
158 |  | 6" Cover Base | 261 | 10% | 287.1 | LF |  |  |  |  | 0
159 |  | Denshield Backer Board @ Wet Areas & Around Tub & Showers | 1044 | 10% | 1148.4 | SF |  |  |  |  | 0
160 |  | Full Height 3"x6" Beveled Ceramic Tile & 3"x6" Flat Cap Bullnose Finish @ Wall Around Tub/shower | 522 | 10% | 574.2 | SF |  |  |  |  | 0
161 |  | Primer & Epoxy Paint | 522 | 10% | 574.2 | SF |  |  |  |  | 0
162 |  | 16" Deep Vinyl Coated Wire Shelf Mounted @ 54" W/ 5 Shelves | 9 | 10% | 9.9 | SF |  |  |  |  | 0
163 |  | 18"x18" Ceramic Tile (Non-Slip Type) | 3906 | 0% | 3906 | EA |  |  |  |  | 0
164 |  | 2'-0"x2'-10" Vanity Cabinet | 9 | 0% | 9 | EA |  |  |  |  | 0
165 |  | 24" Dishwasher (Energy Star)/ADA Compliant @ Accessible Units | 9 | 0% | 9 | EA |  |  |  |  | 0
166 |  | 2'-6"x2'-9" Vanity Mirror | 9 | 0% | 9 | EA |  |  |  |  | 0
167 |  | 2x4 Wood Studs @ 16" OC | 2099 | 10% | 2308.9 | SF |  |  |  |  | 0
168 |  | 4" Wood Base | 1150 | 10% | 1265 | LF |  |  |  |  | 0
169 |  | Gypsum Wall Board | 18432 | 10% | 20275.2 | SF |  |  |  |  | 0
170 |  | Primed & Painted @ Walls | 18432 | 10% | 20275.2 | SF |  |  |  |  | 0
171 |  | 6" High Backsplash | 18 | 10% | 19.8 | SF |  |  |  |  | 0
172 |  | 2x6 Wood Studs @ 16" OC | 1944 | 10% | 2138.4 | SF |  |  |  |  | 0
173 |  | Painted Smooth Gypsum Wall Board @ Soffits & Dropped Ceilings | 5436 | 10% | 5979.6 | SF |  |  |  |  | 0
174 |  | Backsplash W/ Ceramic Tile Finish | 207 | 10% | 227.7 | SF |  |  |  |  | 0
175 |  | Curtain Rod | 54 | 10% | 59.4 | LF |  |  |  |  | 0
176 |  | Energy Star 30" Wide Range W/ Self Cleaning Oven & Microwave Above/Range Oven W/ 30" Wide Hood Fan Above | 9 | 0% | 9 | EA |  |  |  |  | 0
177 |  | Kitchen Base Cabinetry | 89 | 10% | 97.9 | LF |  |  |  |  | 0
178 |  | Kitchen Countertop | 234 | 10% | 257.4 | SF |  |  |  |  | 0
179 |  | Kitchen Upper Cabinetry | 116 | 10% | 127.6 | LF |  |  |  |  | 0
180 |  | Refrigerator (Energy Star) | 9 | 0% | 9 | EA |  |  |  |  | 0
181 |  | Retractable Grab Bar | 9 | 0% | 9 | EA |  |  |  |  | 0
182 |  | Sealed Concrete (Silicone Acrylic Stain) | 333 | 10% | 366.3 | SF |  |  |  |  | 0
183 |  | Soap Dish | 9 | 0% | 9 | EA |  |  |  |  | 0
184 |  | Toilet Countertop | 54 | 10% | 59.4 | SF |  |  |  |  | 0
185 |  | Toilet Paper Holder | 9 | 0% | 9 | EA |  |  |  |  | 0
186 |  | Towel Bar | 9 | 0% | 9 | EA |  |  |  |  | 0
187 |  | 12" Deep Vinyl Coated Ventilated Adjustable Shelf W/ Hanger Rod | 9 | 0% | 9 | EA |  |  |  |  | 0
UNITS-A2
188 |  | Ext Stucco Finish Primed & Painted | 1344 | 10% | 1478.4 | SF |  |  |  |  | 0
189 |  | 6" Cover Base | 148 | 10% | 162.8 | LF |  |  |  |  | 0
190 |  | Denshield Backer Board @ Wet Areas & Around Tub & Showers | 1190 | 10% | 1309 | SF |  |  |  |  | 0
191 |  | Full Height 3"x6" Beveled Ceramic Tile & 3"x6" Flat Cap Bullnose Finish @ Wall Around Tub/shower | 595 | 10% | 654.5 | SF |  |  |  |  | 0
192 |  | Primer & Epoxy Paint | 595 | 10% | 654.5 | SF |  |  |  |  | 0
193 |  | 16" Deep Vinyl Coated Wire Shelf Mounted @ 54" W/ 5 Shelves | 5 | 10% | 5.5 | SF |  |  |  |  | 0
194 |  | 18"x18" Ceramic Tile (Non-Slip Type) | 2635 | 0% | 2635 | EA |  |  |  |  | 0
195 |  | 2'-0"x2'-10" Vanity Cabinet | 5 | 0% | 5 | EA |  |  |  |  | 0
196 |  | 24" Dishwasher (Energy Star)/ADA Compliant @ Accessible Units | 5 | 0% | 5 | EA |  |  |  |  | 0
197 |  | 2'-6"x2'-9" Vanity Mirror | 5 | 0% | 5 | EA |  |  |  |  | 0
198 |  | 2x4 Wood Studs @ 16" OC | 2240 | 10% | 2464 | SF |  |  |  |  | 0
199 |  | 4" Wood Base | 665 | 10% | 731.5 | LF |  |  |  |  | 0
200 |  | Gypsum Wall Board | 10640 | 10% | 11704 | SF |  |  |  |  | 0
201 |  | Primed & Painted @ Walls | 10640 | 10% | 11704 | SF |  |  |  |  | 0
202 |  | 6" High Backsplash | 10 | 10% | 11 | SF |  |  |  |  | 0
203 |  | 2x6 Wood Studs @ 16" OC | 280 | 10% | 308 | SF |  |  |  |  | 0
204 |  | Painted Smooth Gypsum Wall Board @ Soffits & Dropped Ceilings | 2960 | 10% | 3256 | SF |  |  |  |  | 0
205 |  | Backsplash W/ Ceramic Tile Finish | 110 | 10% | 121 | SF |  |  |  |  | 0
206 |  | Curtain Rod | 30 | 10% | 33 | LF |  |  |  |  | 0
207 |  | Energy Star 30" Wide Range W/ Self Cleaning Oven & Microwave Above/Range Oven W/ 30" Wide Hood Fan Above | 5 | 0% | 5 | EA |  |  |  |  | 0
208 |  | Kitchen Base Cabinetry | 70 | 10% | 77 | LF |  |  |  |  | 0
209 |  | Kitchen Countertop | 140 | 10% | 154 | SF |  |  |  |  | 0
210 |  | Kitchen Upper Cabinetry | 100 | 10% | 110 | LF |  |  |  |  | 0
211 |  | Refrigerator (Energy Star) | 5 | 0% | 5 | EA |  |  |  |  | 0
212 |  | Retractable Grab Bar | 5 | 0% | 5 | EA |  |  |  |  | 0
213 |  | Sealed Concrete (Silicone Acrylic Stain) | 300 | 10% | 330 | SF |  |  |  |  | 0
214 |  | Soap Dish | 5 | 0% | 5 | EA |  |  |  |  | 0
215 |  | Toilet Countertop | 30 | 10% | 33 | SF |  |  |  |  | 0
216 |  | Toilet Paper Holder | 5 | 0% | 5 | EA |  |  |  |  | 0
217 |  | Towel Bar | 5 | 0% | 5 | EA |  |  |  |  | 0
218 |  | 12" Deep Vinyl Coated Ventilated Adjustable Shelf W/ Hanger Rod | 5 | 0% | 5 | EA |  |  |  |  | 0
UNITS-A2 ACCESSIBLE
219 |  | Ext Stucco Finish Primed & Painted | 1360 | 10% | 1496 | SF |  |  |  |  | 0
220 |  | 6" Cover Base | 165 | 10% | 181.5 | LF |  |  |  |  | 0
221 |  | Denshield Backer Board @ Wet Areas & Around Tub & Showers | 1320 | 10% | 1452 | SF |  |  |  |  | 0
222 |  | Full Height 3"x6" Beveled Ceramic Tile & 3"x6" Flat Cap Bullnose Finish @ Wall Around Tub/shower | 660 | 10% | 726 | SF |  |  |  |  | 0
223 |  | Primer & Epoxy Paint | 660 | 10% | 726 | SF |  |  |  |  | 0
224 |  | 18"x18" Ceramic Tile (Non-Slip Type) | 2630 | 10% | 2893 | SF |  |  |  |  | 0
225 |  | 2'-0"x2'-10" Vanity Cabinet | 5 | 0% | 5 | EA |  |  |  |  | 0
226 |  | 24" Dishwasher (Energy Star)/ADA Compliant @ Accessible Units | 5 | 0% | 5 | EA |  |  |  |  | 0
227 |  | 2'-6"x2'-9" Vanity Mirror | 5 | 0% | 5 | EA |  |  |  |  | 0
228 |  | 2x4 Wood Studs @ 16" OC | 2400 | 10% | 2640 | SF |  |  |  |  | 0
229 |  | 4" Wood Base | 850 | 10% | 935 | LF |  |  |  |  | 0
230 |  | Gypsum Wall Board | 13600 | 10% | 14960 | SF |  |  |  |  | 0
231 |  | Primed & Painted @ Walls | 13600 | 10% | 14960 | SF |  |  |  |  | 0
232 |  | 6" High Backsplash | 15 | 10% | 16.5 | SF |  |  |  |  | 0
233 |  | 2x6 Wood Studs @ 16" OC | 200 | 10% | 220 | SF |  |  |  |  | 0
234 |  | Painted Smooth Gypsum Wall Board @ Soffits & Dropped Ceilings | 3270 | 10% | 3597 | SF |  |  |  |  | 0
235 |  | Backsplash W/ Ceramic Tile Finish | 140 | 10% | 154 | SF |  |  |  |  | 0
236 |  | Curtain Rod | 30 | 10% | 33 | SF |  |  |  |  | 0
237 |  | Energy Star 30" Wide Range W/ Self Cleaning Oven & Microwave Above/Range Oven W/ 30" Wide Hood Fan Above | 5 | 0% | 5 | EA |  |  |  |  | 0
238 |  | Kitchen Base Cabinetry | 60 | 10% | 66 | LF |  |  |  |  | 0
239 |  | Kitchen Countertop | 120 | 10% | 132 | SF |  |  |  |  | 0
240 |  | Kitchen Upper Cabinetry | 90 | 10% | 99 | LF |  |  |  |  | 0
241 |  | Refrigerator (Energy Star) | 5 | 10% | 5.5 | LF |  |  |  |  | 0
242 |  | Retractable Grab Bar | 5 | 0% | 5 | EA |  |  |  |  | 0
243 |  | Sealed Concrete (Silicone Acrylic Stain) | 305 | 10% | 335.5 | SF |  |  |  |  | 0
244 |  | Soap Dish | 5 | 0% | 5 | EA |  |  |  |  | 0
245 |  | Toilet Countertop | 30 | 10% | 33 | SF |  |  |  |  | 0
246 |  | Toilet Paper Holder | 5 | 0% | 5 | EA |  |  |  |  | 0
247 |  | Towel Bar | 5 | 0% | 5 | EA |  |  |  |  | 0
248 |  | 12" Deep Vinyl Coated Ventilated Adjustable Shelf W/ Hanger Rod | 10 | 0% | 10 | EA |  |  |  |  | 0
UNITS-A3
249 |  | Ext Stucco Finish Primed & Painted | 3360 | 10% | 3696 | SF |  |  |  |  | 0
250 |  | 6" Cover Base | 290 | 10% | 319 | LF |  |  |  |  | 0
251 |  | Denshield Backer Board @ Wet Areas & Around Tub & Showers | 2320 | 10% | 2552 | SF |  |  |  |  | 0
252 |  | Full Height 3"x6" Beveled Ceramic Tile & 3"x6" Flat Cap Bullnose Finish @ Wall Around Tub/shower | 1160 | 10% | 1276 | SF |  |  |  |  | 0
253 |  | Primer & Epoxy Paint | 1160 | 10% | 1276 | SF |  |  |  |  | 0
254 |  | 16" Deep Vinyl Coated Wire Shelf Mounted @ 54" W/ 5 Shelves | 10 | 10% | 11 | SF |  |  |  |  | 0
255 |  | 18"x18" Ceramic Tile (Non-Slip Type) | 2700 | 0% | 2700 | EA |  |  |  |  | 0
256 |  | 2'-0"x2'-10" Vanity Cabinet | 10 | 0% | 10 | EA |  |  |  |  | 0
257 |  | 24" Dishwasher (Energy Star)/ADA Compliant @ Accessible Units | 10 | 0% | 10 | EA |  |  |  |  | 0
258 |  | 2'-6"x2'-9" Vanity Mirror | 10 | 0% | 10 | EA |  |  |  |  | 0
259 |  | 2x4 Wood Studs @ 16" OC | 4480 | 10% | 4928 | SF |  |  |  |  | 0
260 |  | 4" Wood Base | 1930 | 10% | 2123 | LF |  |  |  |  | 0
261 |  | Gypsum Wall Board | 30880 | 10% | 33968 | SF |  |  |  |  | 0
262 |  | Primed & Painted @ Walls | 30880 | 10% | 33968 | SF |  |  |  |  | 0
263 |  | 6" High Backsplash | 20 | 10% | 22 | SF |  |  |  |  | 0
264 |  | 2x6 Wood Studs @ 16" OC | 320 | 10% | 352 | SF |  |  |  |  | 0
265 |  | Painted Smooth Gypsum Wall Board @ Soffits & Dropped Ceilings | 5620 | 10% | 6182 | SF |  |  |  |  | 0
266 |  | Backsplash W/ Ceramic Tile Finish | 110 | 10% | 121 | SF |  |  |  |  | 0
267 |  | Curtain Rod | 60 | 10% | 66 | LF |  |  |  |  | 0
268 |  | Energy Star 30" Wide Range W/ Self Cleaning Oven & Microwave Above/Range Oven W/ 30" Wide Hood Fan Above | 10 | 0% | 10 | EA |  |  |  |  | 0
269 |  | Kitchen Base Cabinetry | 100 | 10% | 110 | LF |  |  |  |  | 0
270 |  | Kitchen Countertop | 190 | 10% | 209 | SF |  |  |  |  | 0
271 |  | Kitchen Upper Cabinetry | 130 | 10% | 143 | LF |  |  |  |  | 0
272 |  | Refrigerator (Energy Star) | 10 | 0% | 10 | EA |  |  |  |  | 0
273 |  | Retractable Grab Bar | 10 | 0% | 10 | EA |  |  |  |  | 0
274 |  | Sealed Concrete (Silicone Acrylic Stain) | 420 | 10% | 462 | SF |  |  |  |  | 0
275 |  | Soap Dish | 10 | 0% | 10 | EA |  |  |  |  | 0
276 |  | Toilet Countertop | 60 | 10% | 66 | SF |  |  |  |  | 0
277 |  | Toilet Paper Holder | 10 | 0% | 10 | EA |  |  |  |  | 0
278 |  | Towel Bar | 10 | 0% | 10 | EA |  |  |  |  | 0
279 |  | 12" Deep Vinyl Coated Ventilated Adjustable Shelf W/ Hanger Rod | 10 | 0% | 10 | EA |  |  |  |  | 0
UNITS-B1
280 |  | Ext Stucco Finish Primed & Painted | 2880 | 10% | 3168 | SF |  |  |  |  | 0
281 |  | 6" Cover Base | 720 | 10% | 792 | LF |  |  |  |  | 0
282 |  | Denshield Backer Board @ Wet Areas & Around Tub & Showers | 5760 | 10% | 6336 | SF |  |  |  |  | 0
283 |  | Full Height 3"x6" Beveled Ceramic Tile & 3"x6" Flat Cap Bullnose Finish @ Wall Around Tub/shower | 2880 | 10% | 3168 | SF |  |  |  |  | 0
284 |  | Primer & Epoxy Paint | 2880 | 10% | 3168 | SF |  |  |  |  | 0
285 |  | 16" Deep Vinyl Coated Wire Shelf Mounted @ 54" W/ 5 Shelves | 36 | 10% | 39.6 | SF |  |  |  |  | 0
286 |  | 18"x18" Ceramic Tile (Non-Slip Type) | 10428 | 0% | 10428 | EA |  |  |  |  | 0
287 |  | 2'-0"x2'-10" Vanity Cabinet | 24 | 0% | 24 | EA |  |  |  |  | 0
288 |  | 24" Dishwasher (Energy Star)/ADA Compliant @ Accessible Units | 12 | 0% | 12 | EA |  |  |  |  | 0
289 |  | 2'-6"x2'-9" Vanity Mirror | 24 | 0% | 24 | EA |  |  |  |  | 0
290 |  | 2x4 Wood Studs @ 16" OC | 11136 | 10% | 12249.6 | SF |  |  |  |  | 0
291 |  | 4" Wood Base | 2916 | 10% | 3207.6 | LF |  |  |  |  | 0
292 |  | Gypsum Wall Board | 46656 | 10% | 51321.6 | SF |  |  |  |  | 0
293 |  | Primed & Painted @ Walls | 46656 | 10% | 51321.6 | SF |  |  |  |  | 0
294 |  | 6" High Backsplash | 36 | 10% | 39.6 | SF |  |  |  |  | 0
295 |  | 2x6 Wood Studs @ 16" OC | 1152 | 10% | 1267.2 | SF |  |  |  |  | 0
296 |  | Painted Smooth Gypsum Wall Board @ Soffits & Dropped Ceilings | 10512 | 10% | 11563.2 | SF |  |  |  |  | 0
297 |  | Backsplash W/ Ceramic Tile Finish | 204 | 10% | 224.4 | SF |  |  |  |  | 0
298 |  | Curtain Rod | 144 | 10% | 158.4 | LF |  |  |  |  | 0
299 |  | Energy Star 30" Wide Range W/ Self Cleaning Oven & Microwave Above/Range Oven W/ 30" Wide Hood Fan Above | 12 | 0% | 12 | EA |  |  |  |  | 0
300 |  | Kitchen Base Cabinetry | 132 | 10% | 145.2 | LF |  |  |  |  | 0
301 |  | Kitchen Countertop | 252 | 10% | 277.2 | SF |  |  |  |  | 0
302 |  | Kitchen Upper Cabinetry | 156 | 10% | 171.6 | LF |  |  |  |  | 0
303 |  | Refrigerator (Energy Star) | 12 | 0% | 12 | EA |  |  |  |  | 0
304 |  | Retractable Grab Bar | 24 | 0% | 24 | EA |  |  |  |  | 0
305 |  | Sealed Concrete (Silicone Acrylic Stain) | 444 | 10% | 488.4 | SF |  |  |  |  | 0
306 |  | Soap Dish | 24 | 0% | 24 | EA |  |  |  |  | 0
307 |  | Toilet Countertop | 132 | 10% | 145.2 | SF |  |  |  |  | 0
308 |  | Toilet Paper Holder | 24 | 0% | 24 | EA |  |  |  |  | 0
309 |  | Towel Bar | 24 | 0% | 24 | EA |  |  |  |  | 0
310 |  | 12" Deep Vinyl Coated Ventilated Adjustable Shelf W/ Hanger Rod | 24 | 0% | 24 | EA |  |  |  |  | 0
UNITS-B2
311 |  | Ext Stucco Finish Primed & Painted | 2976 | 10% | 3273.6 | SF |  |  |  |  | 0
312 |  | 6" Cover Base | 708 | 10% | 778.8 | LF |  |  |  |  | 0
313 |  | Denshield Backer Board @ Wet Areas & Around Tub & Showers | 5664 | 10% | 6230.4 | SF |  |  |  |  | 0
314 |  | Full Height 3"x6" Beveled Ceramic Tile & 3"x6" Flat Cap Bullnose Finish @ Wall Around Tub/shower | 2832 | 10% | 3115.2 | SF |  |  |  |  | 0
315 |  | Primer & Epoxy Paint | 2832 | 10% | 3115.2 | SF |  |  |  |  | 0
316 |  | 16" Deep Vinyl Coated Wire Shelf Mounted @ 54" W/ 5 Shelves | 12 | 10% | 13.2 | SF |  |  |  |  | 0
317 |  | 18"x18" Ceramic Tile (Non-Slip Type) | 8808 | 0% | 8808 | EA |  |  |  |  | 0
318 |  | 2'-0"x2'-10" Vanity Cabinet | 24 | 0% | 24 | EA |  |  |  |  | 0
319 |  | 24" Dishwasher (Energy Star)/ADA Compliant @ Accessible Units | 12 | 0% | 12 | EA |  |  |  |  | 0
320 |  | 2'-6"x2'-9" Vanity Mirror | 24 | 0% | 24 | EA |  |  |  |  | 0
321 |  | 2x4 Wood Studs @ 16" OC | 8256 | 10% | 9081.6 | SF |  |  |  |  | 0
322 |  | 4" Wood Base | 1860 | 10% | 2046 | LF |  |  |  |  | 0
323 |  | Gypsum Wall Board | 29760 | 10% | 32736 | SF |  |  |  |  | 0
324 |  | Primed & Painted @ Walls | 29760 | 10% | 32736 | SF |  |  |  |  | 0
325 |  | 6" High Backsplash | 36 | 10% | 39.6 | SF |  |  |  |  | 0
326 |  | 2x6 Wood Studs @ 16" OC | 1344 | 10% | 1478.4 | SF |  |  |  |  | 0
327 |  | Painted Smooth Gypsum Wall Board @ Soffits & Dropped Ceilings | 9876 | 10% | 10863.6 | SF |  |  |  |  | 0
328 |  | Backsplash W/ Ceramic Tile Finish | 300 | 10% | 330 | SF |  |  |  |  | 0
329 |  | Curtain Rod | 144 | 10% | 158.4 | LF |  |  |  |  | 0
330 |  | Energy Star 30" Wide Range W/ Self Cleaning Oven & Microwave Above/Range Oven W/ 30" Wide Hood Fan Above | 12 | 0% | 12 | EA |  |  |  |  | 0
331 |  | Kitchen Base Cabinetry | 192 | 10% | 211.2 | LF |  |  |  |  | 0
332 |  | Kitchen Countertop | 216 | 10% | 237.6 | SF |  |  |  |  | 0
333 |  | Kitchen Upper Cabinetry | 204 | 10% | 224.4 | LF |  |  |  |  | 0
334 |  | Refrigerator (Energy Star) | 12 | 0% | 12 | EA |  |  |  |  | 0
335 |  | Retractable Grab Bar | 24 | 0% | 24 | EA |  |  |  |  | 0
336 |  | Sealed Concrete (Silicone Acrylic Stain) | 444 | 10% | 488.4 | SF |  |  |  |  | 0
337 |  | Soap Dish | 24 | 0% | 24 | EA |  |  |  |  | 0
338 |  | Toilet Countertop | 132 | 10% | 145.2 | SF |  |  |  |  | 0
339 |  | Toilet Paper Holder | 24 | 0% | 24 | EA |  |  |  |  | 0
340 |  | Towel Bar | 24 | 0% | 24 | EA |  |  |  |  | 0
341 |  | 12" Deep Vinyl Coated Ventilated Adjustable Shelf W/ Hanger Rod | 24 | 0% | 24 | EA |  |  |  |  | 0
UNITS-B3
342 |  | Ext Stucco Finish Primed & Painted | 1200 | 10% | 1320 | SF |  |  |  |  | 0
343 |  | 6" Cover Base | 160 | 10% | 176 | LF |  |  |  |  | 0
344 |  | Denshield Backer Board @ Wet Areas & Around Tub & Showers | 1280 | 10% | 1408 | SF |  |  |  |  | 0
345 |  | Full Height 3"x6" Beveled Ceramic Tile & 3"x6" Flat Cap Bullnose Finish @ Wall Around Tub/shower | 640 | 10% | 704 | SF |  |  |  |  | 0
346 |  | Primer & Epoxy Paint | 640 | 10% | 704 | SF |  |  |  |  | 0
347 |  | 16" Deep Vinyl Coated Wire Shelf Mounted @ 54" W/ 5 Shelves | 5 | 10% | 5.5 | SF |  |  |  |  | 0
348 |  | 18"x18" Ceramic Tile (Non-Slip Type) | 3810 | 0% | 3810 | EA |  |  |  |  | 0
349 |  | 2'-0"x2'-10" Vanity Cabinet | 5 | 0% | 5 | EA |  |  |  |  | 0
350 |  | 24" Dishwasher (Energy Star)/ADA Compliant @ Accessible Units | 5 | 0% | 5 | EA |  |  |  |  | 0
351 |  | 2'-6"x2'-9" Vanity Mirror | 10 | 0% | 10 | EA |  |  |  |  | 0
352 |  | 2x4 Wood Studs @ 16" OC | 4120 | 10% | 4532 | SF |  |  |  |  | 0
353 |  | 4" Wood Base | 1270 | 10% | 1397 | LF |  |  |  |  | 0
354 |  | Gypsum Wall Board | 20320 | 10% | 22352 | SF |  |  |  |  | 0
355 |  | Primed & Painted @ Walls | 20320 | 10% | 22352 | SF |  |  |  |  | 0
356 |  | 6" High Backsplash | 15 | 10% | 16.5 | SF |  |  |  |  | 0
357 |  | Painted Smooth Gypsum Wall Board @ Soffits & Dropped Ceilings | 4360 | 10% | 4796 | SF |  |  |  |  | 0
358 |  | Backsplash W/ Ceramic Tile Finish | 90 | 10% | 99 | SF |  |  |  |  | 0
359 |  | Curtain Rod | 60 | 10% | 66 | SF |  |  |  |  | 0
360 |  | Energy Star 30" Wide Range W/ Self Cleaning Oven & Microwave Above/Range Oven W/ 30" Wide Hood Fan Above | 5 | 10% | 5.5 | LF |  |  |  |  | 0
361 |  | Kitchen Base Cabinetry | 55 | 0% | 55 | EA |  |  |  |  | 0
362 |  | Kitchen Countertop | 105 | 10% | 115.5 | LF |  |  |  |  | 0
363 |  | Kitchen Upper Cabinetry | 70 | 10% | 77 | SF |  |  |  |  | 0
364 |  | Refrigerator (Energy Star) | 5 | 10% | 5.5 | LF |  |  |  |  | 0
365 |  | Retractable Grab Bar | 10 | 0% | 10 | EA |  |  |  |  | 0
366 |  | Sealed Concrete (Silicone Acrylic Stain) | 255 | 0% | 255 | EA |  |  |  |  | 0
367 |  | Soap Dish | 10 | 10% | 11 | SF |  |  |  |  | 0
368 |  | Toilet Countertop | 60 | 0% | 60 | EA |  |  |  |  | 0
369 |  | Toilet Paper Holder | 10 | 10% | 11 | SF |  |  |  |  | 0
370 |  | Towel Bar | 10 | 0% | 10 | EA |  |  |  |  | 0
371 |  | 12" Deep Vinyl Coated Ventilated Adjustable Shelf W/ Hanger Rod | 10 | 0% | 10 | EA |  |  |  |  | 0
UNITS-B3 ACCESSIBLE
372 |  | Ext Stucco Finish Primed & Painted | 1240 | 10% | 1364 | SF |  |  |  |  | 0
373 |  | 6" Cover Base | 325 | 10% | 357.5 | LF |  |  |  |  | 0
374 |  | Denshield Backer Board @ Wet Areas & Around Tub & Showers | 2600 | 10% | 2860 | SF |  |  |  |  | 0
375 |  | Full Height 3"x6" Beveled Ceramic Tile & 3"x6" Flat Cap Bullnose Finish @ Wall Around Tub/shower | 1200 | 10% | 1320 | SF |  |  |  |  | 0
376 |  | Primer & Epoxy Paint | 1200 | 10% | 1320 | SF |  |  |  |  | 0
377 |  | 18"x18" Ceramic Tile (Non-Slip Type) | 3995 | 10% | 4394.5 | SF |  |  |  |  | 0
378 |  | 2'-0"x2'-10" Vanity Cabinet | 10 | 0% | 10 | EA |  |  |  |  | 0
379 |  | 24" Dishwasher (Energy Star)/ADA Compliant @ Accessible Units | 5 | 0% | 5 | EA |  |  |  |  | 0
380 |  | 2'-6"x2'-9" Vanity Mirror | 10 | 0% | 10 | EA |  |  |  |  | 0
381 |  | 2x4 Wood Studs @ 16" OC | 3120 | 10% | 3432 | SF |  |  |  |  | 0
382 |  | 4" Wood Base | 1090 | 10% | 1199 | LF |  |  |  |  | 0
383 |  | Gypsum Wall Board | 17440 | 10% | 19184 | SF |  |  |  |  | 0
384 |  | Primed & Painted @ Walls | 17440 | 10% | 19184 | SF |  |  |  |  | 0
385 |  | 6" High Backsplash | 15 | 10% | 16.5 | SF |  |  |  |  | 0
386 |  | 2x6 Wood Studs @ 16" OC | 280 | 10% | 308 | SF |  |  |  |  | 0
387 |  | Painted Smooth Gypsum Wall Board @ Soffits & Dropped Ceilings | 690 | 10% | 759 | SF |  |  |  |  | 0
388 |  | Backsplash W/ Ceramic Tile Finish | 110 | 10% | 121 | SF |  |  |  |  | 0
389 |  | Curtain Rod | 60 | 10% | 66 | SF |  |  |  |  | 0
390 |  | Energy Star 30" Wide Range W/ Self Cleaning Oven & Microwave Above/Range Oven W/ 30" Wide Hood Fan Above | 5 | 0% | 5 | EA |  |  |  |  | 0
391 |  | Kitchen Base Cabinetry | 60 | 10% | 66 | LF |  |  |  |  | 0
392 |  | Kitchen Countertop | 145 | 10% | 159.5 | SF |  |  |  |  | 0
393 |  | Kitchen Upper Cabinetry | 80 | 10% | 88 | LF |  |  |  |  | 0
394 |  | Refrigerator (Energy Star) | 5 | 10% | 5.5 | LF |  |  |  |  | 0
395 |  | Retractable Grab Bar | 10 | 0% | 10 | EA |  |  |  |  | 0
396 |  | Sealed Concrete (Silicone Acrylic Stain) | 250 | 10% | 275 | SF |  |  |  |  | 0
397 |  | Soap Dish | 10 | 0% | 10 | EA |  |  |  |  | 0
398 |  | Toilet Countertop | 60 | 10% | 66 | SF |  |  |  |  | 0
399 |  | Toilet Paper Holder | 10 | 0% | 10 | EA |  |  |  |  | 0
400 |  | Towel Bar | 10 | 0% | 10 | EA |  |  |  |  | 0
401 |  | 12" Deep Vinyl Coated Ventilated Adjustable Shelf W/ Hanger Rod | 10 | 0% | 10 | EA |  |  |  |  | 0
UNITS-B4
402 |  | Ext Stucco Finish Primed & Painted | 2592 | 10% | 2851.2 | SF |  |  |  |  | 0
403 |  | 6" Cover Base | 756 | 10% | 831.6 | LF |  |  |  |  | 0
404 |  | Denshield Backer Board @ Wet Areas & Around Tub & Showers | 6048 | 10% | 6652.8 | SF |  |  |  |  | 0
405 |  | Full Height 3"x6" Beveled Ceramic Tile & 3"x6" Flat Cap Bullnose Finish @ Wall Around Tub/shower | 3024 | 10% | 3326.4 | SF |  |  |  |  | 0
406 |  | Primer & Epoxy Paint | 3024 | 10% | 3326.4 | SF |  |  |  |  | 0
407 |  | 18"x18" Ceramic Tile (Non-Slip Type) | 8964 | 10% | 9860.4 | SF |  |  |  |  | 0
408 |  | 2'-0"x2'-10" Vanity Cabinet | 24 | 0% | 24 | EA |  |  |  |  | 0
409 |  | 24" Dishwasher (Energy Star)/ADA Compliant @ Accessible Units | 12 | 0% | 12 | EA |  |  |  |  | 0
410 |  | 2'-6"x2'-9" Vanity Mirror | 24 | 0% | 24 | EA |  |  |  |  | 0
411 |  | 2x4 Wood Studs @ 16" OC | 8928 | 10% | 9820.8 | SF |  |  |  |  | 0
412 |  | 4" Wood Base | 2904 | 10% | 3194.4 | LF |  |  |  |  | 0
413 |  | Gypsum Wall Board | 46464 | 10% | 51110.4 | SF |  |  |  |  | 0
414 |  | Primed & Painted @ Walls | 46464 | 10% | 51110.4 | SF |  |  |  |  | 0
415 |  | 6" High Backsplash | 24 | 10% | 26.4 | SF |  |  |  |  | 0
416 |  | 2x6 Wood Studs @ 16" OC | 672 | 10% | 739.2 | SF |  |  |  |  | 0
417 |  | Painted Smooth Gypsum Wall Board @ Soffits & Dropped Ceilings | 9012 | 10% | 9913.2 | SF |  |  |  |  | 0
418 |  | Backsplash W/ Ceramic Tile Finish | 300 | 10% | 330 | SF |  |  |  |  | 0
419 |  | Curtain Rod | 144 | 10% | 158.4 | SF |  |  |  |  | 0
420 |  | Energy Star 30" Wide Range W/ Self Cleaning Oven & Microwave Above/Range Oven W/ 30" Wide Hood Fan Above | 12 | 0% | 12 | EA |  |  |  |  | 0
421 |  | Kitchen Base Cabinetry | 192 | 10% | 211.2 | LF |  |  |  |  | 0
422 |  | Kitchen Countertop | 336 | 10% | 369.6 | SF |  |  |  |  | 0
423 |  | Kitchen Upper Cabinetry | 228 | 10% | 250.8 | LF |  |  |  |  | 0
424 |  | Refrigerator (Energy Star) | 12 | 10% | 13.2 | LF |  |  |  |  | 0
425 |  | Retractable Grab Bar | 24 | 0% | 24 | EA |  |  |  |  | 0
426 |  | Sealed Concrete (Silicone Acrylic Stain) | 444 | 10% | 488.4 | SF |  |  |  |  | 0
427 |  | Soap Dish | 24 | 0% | 24 | EA |  |  |  |  | 0
428 |  | Toilet Countertop | 144 | 10% | 158.4 | SF |  |  |  |  | 0
429 |  | Toilet Paper Holder | 24 | 0% | 24 | EA |  |  |  |  | 0
430 |  | Towel Bar | 24 | 0% | 24 | EA |  |  |  |  | 0
431 |  | 12" Deep Vinyl Coated Ventilated Adjustable Shelf W/ Hanger Rod | 24 | 0% | 24 | EA |  |  |  |  | 0
UNITS-B5
432 |  | Ext Stucco Finish Primed & Painted | 2320 | 10% | 2552 | SF |  |  |  |  | 0
433 |  | 6" Cover Base | 290 | 10% | 319 | LF |  |  |  |  | 0
434 |  | Denshield Backer Board @ Wet Areas & Around Tub & Showers | 2320 | 10% | 2552 | SF |  |  |  |  | 0
435 |  | Full Height 3"x6" Beveled Ceramic Tile & 3"x6" Flat Cap Bullnose Finish @ Wall Around Tub/shower | 1160 | 10% | 1276 | SF |  |  |  |  | 0
436 |  | Primer & Epoxy Paint | 1160 | 10% | 1276 | SF |  |  |  |  | 0
437 |  | 16" Deep Vinyl Coated Wire Shelf Mounted @ 54" W/ 5 Shelves | 20 | 10% | 22 | SF |  |  |  |  | 0
438 |  | 18"x18" Ceramic Tile (Non-Slip Type) | 9080 | 0% | 9080 | EA |  |  |  |  | 0
439 |  | 2'-0"x2'-10" Vanity Cabinet | 20 | 0% | 20 | EA |  |  |  |  | 0
440 |  | 24" Dishwasher (Energy Star)/ADA Compliant @ Accessible Units | 10 | 0% | 10 | EA |  |  |  |  | 0
441 |  | 2'-6"x2'-9" Vanity Mirror | 20 | 0% | 20 | EA |  |  |  |  | 0
442 |  | 2x4 Wood Studs @ 16" OC | 1220 | 10% | 1342 | SF |  |  |  |  | 0
443 |  | 4" Wood Base | 2860 | 10% | 3146 | LF |  |  |  |  | 0
444 |  | Gypsum Wall Board | 45760 | 10% | 50336 | SF |  |  |  |  | 0
445 |  | Primed & Painted @ Walls | 45760 | 10% | 50336 | SF |  |  |  |  | 0
446 |  | 6" High Backsplash | 30 | 10% | 33 | SF |  |  |  |  | 0
447 |  | 2x6 Wood Studs @ 16" OC | 140 | 10% | 154 | SF |  |  |  |  | 0
448 |  | Painted Smooth Gypsum Wall Board @ Soffits & Dropped Ceilings | 9650 | 10% | 10615 | SF |  |  |  |  | 0
449 |  | Backsplash W/ Ceramic Tile Finish | 150 | 10% | 165 | SF |  |  |  |  | 0
450 |  | Curtain Rod | 120 | 10% | 132 | LF |  |  |  |  | 0
451 |  | Energy Star 30" Wide Range W/ Self Cleaning Oven & Microwave Above/Range Oven W/ 30" Wide Hood Fan Above | 10 | 0% | 10 | EA |  |  |  |  | 0
452 |  | Kitchen Base Cabinetry | 90 | 10% | 99 | LF |  |  |  |  | 0
453 |  | Kitchen Countertop | 190 | 10% | 209 | SF |  |  |  |  | 0
454 |  | Kitchen Upper Cabinetry | 130 | 10% | 143 | LF |  |  |  |  | 0
455 |  | Refrigerator (Energy Star) | 10 | 0% | 10 | EA |  |  |  |  | 0
456 |  | Retractable Grab Bar | 20 | 0% | 20 | EA |  |  |  |  | 0
457 |  | Sealed Concrete (Silicone Acrylic Stain) | 430 | 10% | 473 | SF |  |  |  |  | 0
458 |  | Soap Dish | 20 | 0% | 20 | EA |  |  |  |  | 0
459 |  | Toilet Countertop | 120 | 10% | 132 | SF |  |  |  |  | 0
460 |  | Toilet Paper Holder | 20 | 0% | 20 | EA |  |  |  |  | 0
461 |  | Towel Bar | 20 | 0% | 20 | EA |  |  |  |  | 0
462 |  | 12" Deep Vinyl Coated Ventilated Adjustable Shelf W/ Hanger Rod | 40 | 0% | 40 | EA |  |  |  |  | 0
|  | WALL TYPES | [9 empty] | 0
W1 Wall
463 |  | 1-1/2" Metal Furring @ 16" OC | 39012 | 10% | 42913.2 | SF |  |  |  |  | 0
464 |  | 7.1R Foil Back Insulation | 39012 | 10% | 42913.2 | SF |  |  |  |  | 0
465 |  | 5/8" GWB | 39012 | 10% | 42913.2 | SF |  |  |  |  | 0
W2 Wall
466 |  | 1-1/2" Metal Furring @ 16" OC | 749 | 10% | 823.9 | SF |  |  |  |  | 0
467 |  | 5/8" GWB | 1498 | 10% | 1647.8 | SF |  |  |  |  | 0
W20 Wall
468 |  | 1-1/2" Metal Furring @ 16" OC | 2724 | 10% | 2996.4 | SF |  |  |  |  | 0
469 |  | 7.1R Foil Back Insulation | 2724 | 10% | 2996.4 | SF |  |  |  |  | 0
470 |  | 5/8" GWB | 2724 | 10% | 2996.4 | SF |  |  |  |  | 0
W22 Wall
471 |  | 1-1/2" Metal Furring @ 16" OC | 8208 | 10% | 9028.8 | SF |  |  |  |  | 0
472 |  | 7.1R Foil Back Insulation | 8208 | 10% | 9028.8 | SF |  |  |  |  | 0
473 |  | 5/8" GWB | 16416 | 10% | 18057.6 | SF |  |  |  |  | 0
W23 Wall
474 |  | 7.1R Foil Back Insulation | 9408 | 10% | 10348.8 | SF |  |  |  |  | 0
475 |  | 5/8" GWB | 18816 | 10% | 20697.6 | SF |  |  |  |  | 0
W27 Wall
476 |  | 6" Metal Studs @ 16" OC | 39444 | 10% | 43388.4 | SF |  |  |  |  | 0
477 |  | R19 Insulation | 39444 | 10% | 43388.4 | SF |  |  |  |  | 0
478 |  | 5/8" GWB | 78888 | 10% | 86776.8 | SF |  |  |  |  | 0
W29 Wall
479 |  | 6" Metal Studs @ 16" OC | 297 | 10% | 326.7 | SF |  |  |  |  | 0
480 |  | 5/8" GWB | 593 | 10% | 652.3 | SF |  |  |  |  | 0
W3 Wall
481 |  | 1-1/2" Metal Furring @ 16" OC | 900 | 10% | 990 | SF |  |  |  |  | 0
482 |  | 5/8" GWB | 900 | 10% | 990 | SF |  |  |  |  | 0
483 |  | 7.1R Foil Back Insulation | 900 | 10% | 990 | SF |  |  |  |  | 0
W31 Wall
484 |  | 3-5/8" Metal Studs @ 16" OC | 1108 | 10% | 1218.8 | SF |  |  |  |  | 0
485 |  | 1/2" GWB | 2216 | 10% | 2437.6 | SF |  |  |  |  | 0
W32 Wall
486 |  | 6" Metal Studs @ 16" OC | 1248 | 10% | 1372.8 | SF |  |  |  |  | 0
487 |  | 5/8" GWB | 2496 | 10% | 2745.6 | SF |  |  |  |  | 0
488 |  | R19 Insulation | 1248 | 10% | 1372.8 | SF |  |  |  |  | 0
W35 Wall
489 |  | 2-1/2" Deep CH 25GA Galv Metal Studs @ 16" OC | 4284 | 10% | 4712.4 | SF |  |  |  |  | 0
490 |  | 1" Thick Wallboard | 4284 | 10% | 4712.4 | SF |  |  |  |  | 0
491 |  | 5/8" GWB | 8568 | 10% | 9424.8 | SF |  |  |  |  | 0
W4 Wall
492 |  | 1-1/2" Metal Furring @ 16" OC | 1195 | 10% | 1314.5 | SF |  |  |  |  | 0
493 |  | 5/8" GWB | 1195 | 10% | 1314.5 | SF |  |  |  |  | 0
494 |  | 7.1R Foil Back Insulation | 1195 | 10% | 1314.5 | SF |  |  |  |  | 0
W5 Wall
495 |  | 7.1R Foil Back Insulation | 17513 | 10% | 19264.3 | SF |  |  |  |  | 0
W6 Wall
496 |  | 7.1R Foil Back Insulation | 2460 | 10% | 2706 | SF |  |  |  |  | 0
W9 Wall
497 |  | 1-1/2" Metal Furring @ 16" OC | 5520 | 10% | 6072 | SF |  |  |  |  | 0
498 |  | 5/8" GWB | 5520 | 10% | 6072 | SF |  |  |  |  | 0
499 |  | 7.1R Foil Back Insulation | 5520 | 10% | 6072 | SF |  |  |  |  | 0
| DIV.08 | OPENINGS | [9 empty] | 0
UNIT DOORS
500 |  | 1'-6"x6'-8" Door | 255 | 0% | 255 | EA |  |  |  |  | 0
501 |  | 2'-10"x6'-8" Door | 170 | 0% | 170 | EA |  |  |  |  | 0
502 |  | 2'-8"x6'-8" Door | 935 | 0% | 935 | EA |  |  |  |  | 0
503 |  | 3'x7' Door | 595 | 0% | 595 | EA |  |  |  |  | 0
504 |  | 4'x8' Door | 170 | 0% | 170 | EA |  |  |  |  | 0
OTHER DOORS
505 |  | 2'-10"x7'-0" Door | 1 | 0% | 1 | EA |  |  |  |  | 0
506 |  | 2'-6"x7'-0" Doors | 1 | 0% | 1 | EA |  |  |  |  | 0
507 |  | 3'-7' Door | 14 | 0% | 14 | EA |  |  |  |  | 0
508 |  | 3'x8' Door | 13 | 0% | 13 | EA |  |  |  |  | 0
509 |  | 8'x8' Door | 1 | 0% | 1 | EA |  |  |  |  | 0
| DIV.09 | FINISHES | [9 empty] | 0
WALL FINISH
510 |  | Painted Smooth GWB | 26323 | 10% | 28955.3 | SF |  |  |  |  | 0
511 |  | Painted Stucco Finish | 522 | 10% | 574.2 | SF |  |  |  |  | 0
512 |  | Paint On Skim Coat Stucco Finish | 522 | 10% | 574.2 | SF |  |  |  |  | 0
513 |  | Painted Expopsed Concrete | 729 | 10% | 801.9 | SF |  |  |  |  | 0
514 |  | 4" Wood Base | 2574 | 10% | 2831.4 | LF |  |  |  |  | 0
515 |  | Fully Mirrored Wall | 773 | 10% | 850.3 | SF |  |  |  |  | 0
516 |  | Ceramic Tile @ Walls | 612 | 10% | 673.2 | SF |  |  |  |  | 0
517 |  | Moisture Resistant GWB | 612 | 10% | 673.2 | SF |  |  |  |  | 0
FLOOR FINISH
518 |  | Epoxy Coating On Concrete Floor | 329 | 10% | 361.9 | SF |  |  |  |  | 0
519 |  | Sealed Concrete | 1093 | 10% | 1202.3 | SF |  |  |  |  | 0
520 |  | 24"x24" Interlocking Rubber Tile | 358 | 10% | 393.8 | SF |  |  |  |  | 0
521 |  | Ceramic Tile Flooring | 7393 | 10% | 8132.3 | SF |  |  |  |  | 0
CEILING FINISH
522 |  | 5/8" Stucco Finish Over Paper Back Metal Lath Securely Attached To 3/4" Densglass Sheathing Attached To 3" Metal Studs @ 16" OC | 704 | 10% | 774.4 | SF |  |  |  |  | 0
523 |  | Cement Plaster Finished @ Ceiling | 1793 | 10% | 1972.3 | SF |  |  |  |  | 0
524 |  | Gypsum Board Ceiling | 9164 | 10% | 10080.4 | SF |  |  |  |  | 0
| DIV.22 | PLUMBING | [9 empty] | 0
PIPING
525 |  | 1 1/2" Drain Line | 15.39 | 10% | 16.929 | LF |  |  |  |  | 0
526 |  | 1 1/2" Drain Line DN | 31 | 10% | 34.1 | LF |  |  |  |  | 0
527 |  | 1 1/2" Drain Line Up | 28 | 10% | 30.8 | LF |  |  |  |  | 0
528 |  | 1 1/2" Condensate line to discharge into Roof drain | 10 | 10% | 11 | LF |  |  |  |  | 0
529 |  | 1 1/4" Condensate Up | 10 | 10% | 11 | LF |  |  |  |  | 0
530 |  | 1 1/4" Condensate DN | 60 | 10% | 66 | LF |  |  |  |  | 0
531 |  | 1 1/4" Drain Line Up | 10 | 10% | 11 | LF |  |  |  |  | 0
532 |  | 1 1/4" Condensate Drain piping | 80.93 | 10% | 89.023 | LF |  |  |  |  | 0
533 |  | 1" Condensate Line DN | 80 | 10% | 88 | LF |  |  |  |  | 0
534 |  | 1" Condensate Line UP | 10 | 10% | 11 | LF |  |  |  |  | 0
535 |  | 10" Storm Drain Piping | 91.5 | 10% | 100.65 | LF |  |  |  |  | 0
536 |  | 2" Condensate DN | 300 | 10% | 330 | LF |  |  |  |  | 0
537 |  | 2" Condensate Drain | 24.75 | 10% | 27.225 | LF |  |  |  |  | 0
538 |  | 2" Condensate Up | 80 | 10% | 88 | LF |  |  |  |  | 0
539 |  | 2" Sanitary Waste Piping | 23.3 | 10% | 25.63 | LF |  |  |  |  | 0
540 |  | 3" Cold water piping (CW) | 10 | 10% | 11 | LF |  |  |  |  | 0
541 |  | 3" Condensate DN | 30 | 10% | 33 | LF |  |  |  |  | 0
542 |  | 3" Condensate Drain | 111 | 10% | 122.1 | LF |  |  |  |  | 0
543 |  | 3" Over Flow Rain Water Leader DN | 600 | 10% | 660 | LF |  |  |  |  | 0
544 |  | 3" Over Flow Rain Water Leader UP | 120 | 10% | 132 | LF |  |  |  |  | 0
545 |  | 3" Rain Water Leader DN | 520 | 10% | 572 | LF |  |  |  |  | 0
546 |  | 3" Rain Water Leader UP | 180 | 10% | 198 | LF |  |  |  |  | 0
547 |  | 3" Vent Thru Roof | 90 | 10% | 99 | LF |  |  |  |  | 0
548 |  | 4" Vent Thru Roof | 190 | 10% | 209 | LF |  |  |  |  | 0
549 |  | 3" Vent DN | 40 | 10% | 44 | LF |  |  |  |  | 0
550 |  | 3" Vent Up | 30 | 10% | 33 | LF |  |  |  |  | 0
551 |  | 3/4" Cold Water Piping (CW) | 32.57 | 10% | 35.827 | LF |  |  |  |  | 0
552 |  | 3/4" Cold Water Piping (CW) DN | 20 | 10% | 22 | LF |  |  |  |  | 0
553 |  | 3/4" Cold Water Piping (CW) UP | 10 | 10% | 11 | LF |  |  |  |  | 0
554 |  | 4" Cold water piping (CW) | 41.35 | 10% | 45.485 | LF |  |  |  |  | 0
555 |  | 4" Condensate Drain | 21.95 | 10% | 24.145 | LF |  |  |  |  | 0
556 |  | 4" Sanitary DN. | 470 | 10% | 517 | LF |  |  |  |  | 0
557 |  | 4" Sanitary Up | 90 | 10% | 99 | LF |  |  |  |  | 0
558 |  | 4" Sanitary Waste Piping | 26.1 | 10% | 28.71 | LF |  |  |  |  | 0
559 |  | 6" rain Water Leader | 1230 | 10% | 1353 | LF |  |  |  |  | 0
560 |  | 8" rain Water Leader | 30 | 10% | 33 | LF |  |  |  |  | 0
561 |  | 6" Sanitary DN | 40 | 10% | 44 | LF |  |  |  |  | 0
562 |  | 6" Sanitary Line Up | 20 | 10% | 22 | LF |  |  |  |  | 0
563 |  | 6" Sanitary Line Up | 10 | 10% | 11 | LF |  |  |  |  | 0
564 |  | 8" Sanitary Waste Piping | 179.04 | 10% | 196.944 | LF |  |  |  |  | 0
565 |  | 8" Storm Drain Piping | 98.17 | 10% | 107.987 | LF |  |  |  |  | 0
566 |  | Cold Water Piping (CW) | 2646.62 | 10% | 2911.282 | LF |  |  |  |  | 0
567 |  | Condensate Drain piping | 76.99 | 10% | 84.689 | LF |  |  |  |  | 0
568 |  | Condensate Piping | 1390 | 10% | 1529 | LF |  |  |  |  | 0
569 |  | Drain Piping | 91.58 | 10% | 100.738 | LF |  |  |  |  | 0
570 |  | OverFlow Strom Drain Piping | 68.25 | 10% | 75.075 | LF |  |  |  |  | 0
571 |  | Sanitary Pipe | 444 | 10% | 488.4 | LF |  |  |  |  | 0
572 |  | Sanitary Vent Piping | 160.85 | 10% | 176.935 | LF |  |  |  |  | 0
573 |  | Sanitary Waste Piping | 288.87 | 10% | 317.757 | LF |  |  |  |  | 0
574 |  | Storm Drain Piping | 214.63 | 10% | 236.093 | LF |  |  |  |  | 0
FIXTURES & ACCESSORIES
575 |  | 1 1/2" Primer Trap | 1 | 0% | 1 | EA |  |  |  |  | 0
576 |  | 1 1/4" Primer Trap | 1 | 0% | 1 | EA |  |  |  |  | 0
577 |  | 1" Primer Trap | 5 | 0% | 5 | EA |  |  |  |  | 0
578 |  | 3" Floor Drain with Trap Primer | 5 | 0% | 5 | EA |  |  |  |  | 0
579 |  | 3" Roof Drain | 8 | 0% | 8 | EA |  |  |  |  | 0
580 |  | 3/4 " Hose BIBB (W/VB) | 5 | 0% | 5 | EA |  |  |  |  | 0
581 |  | 3/4 " Primer Trap | 4 | 0% | 4 | EA |  |  |  |  | 0
582 |  | 4" Ground Drain | 10 | 0% | 10 | EA |  |  |  |  | 0
583 |  | 4" Over Flow Rain Water Leader | 5 | 0% | 5 | EA |  |  |  |  | 0
584 |  | 4" Over Flow Rain Water Leader DN | 6 | 0% | 6 | EA |  |  |  |  | 0
585 |  | 4" Over Flow Rain Water Leader UP | 4 | 0% | 4 | EA |  |  |  |  | 0
586 |  | 4" Rain Water Leader | 6 | 0% | 6 | EA |  |  |  |  | 0
587 |  | 4" Rain Water Leader DN | 14 | 0% | 14 | EA |  |  |  |  | 0
588 |  | 4" Rain Water Leader UP | 6 | 0% | 6 | EA |  |  |  |  | 0
589 |  | 4"Domestic Drain W/TP | 1 | 0% | 1 | EA |  |  |  |  | 0
590 |  | 6" Ground Drain | 6 | 0% | 6 | EA |  |  |  |  | 0
591 |  | 8" Ground Drain | 10 | 0% | 10 | EA |  |  |  |  | 0
592 |  | Clean Out On Grade | 4 | 0% | 4 | EA |  |  |  |  | 0
593 |  | Floor Drain with trap Primer | 1 | 0% | 1 | EA |  |  |  |  | 0
594 |  | Flush Floor Clean Out | 6 | 0% | 6 | EA |  |  |  |  | 0
595 |  | Hose Bibb (W/VB) | 1 | 0% | 1 | EA |  |  |  |  | 0
596 |  | Instantaneous water heater Eco Smart | 1 | 0% | 1 | EA |  |  |  |  | 0
597 |  | Water Closet | 231 | 0% | 231 | EA |  |  |  |  | 0
598 |  | Bath Tub | 56 | 0% | 56 | EA |  |  |  |  | 0
599 |  | H.C Shower | 4 | 0% | 4 | EA |  |  |  |  | 0
600 |  | Lavatory | 60 | 0% | 60 | EA |  |  |  |  | 0
601 |  | Kitchen Sink | 50 | 0% | 50 | EA |  |  |  |  | 0
| DIV.21 | FIRE SUPPRESSION | [9 empty] | 0
Fire Sprinklers Head
602 |  | Pendant Sprinkler Head | 638 | 0% | 638 | EA |  |  |  |  | 0
603 |  | Upright Sprinkler head | 383 | 0% | 383 | EA |  |  |  |  | 0
604 |  | Sidewall Sprinkler Head | 302 | 0% | 302 | EA |  |  |  |  | 0
Fire Sprinklers Pipes
605 |  | 6" Fire Sprinkler Pipe | 629.29 | 10% | 692.219 | LF |  |  |  |  | 0
606 |  | 3" Fire Sprinkler Pipe | 288.14 | 10% | 316.954 | LF |  |  |  |  | 0
607 |  | 1" Fire Sprinkler Pipe | 5387.99 | 10% | 5926.789 | LF |  |  |  |  | 0
608 |  | 1-1/2" Fire Sprinkler Pipe | 1964.72 | 10% | 2161.192 | LF |  |  |  |  | 0
609 |  | 1-1/4" Fire Sprinkler Pipe | 2094.88 | 10% | 2304.368 | LF |  |  |  |  | 0
610 |  | 2-1/2" Fire Sprinkler Pipe | 876.39 | 10% | 964.029 | LF |  |  |  |  | 0
611 |  | 2" Fire Sprinkler Pipe | 1044.72 | 10% | 1149.192 | LF |  |  |  |  | 0
Fire Sprinklers Fixtures
612 |  | 6" Butterfly Vlave | 14 | 0% | 14 | EA |  |  |  |  | 0
613 |  | 6" X 1/2" X 2-1/2" Fire Dep. Conncection | 2 | 0% | 2 | EA |  |  |  |  | 0
614 |  | Automatic Air Release Valve | 1 | 0% | 1 | EA |  |  |  |  | 0
615 |  | Butterfly Valve | 6 | 0% | 6 | EA |  |  |  |  | 0
616 |  | Check Valve | 2 | 0% | 2 | EA |  |  |  |  | 0
617 |  | Circulation Releaf Valve | 1 | 0% | 1 | EA |  |  |  |  | 0
618 |  | Fire Pump Controller W/ Transfer Switch | 1 | 0% | 1 | EA |  |  |  |  | 0
619 |  | Pressure Guage | 1 | 0% | 1 | EA |  |  |  |  | 0
620 |  | Verticle Jockey Pump, ( 1-1/2 H.P, 208-3-60, PVM1-12 Mode, 3500 RPM ) | 1 | 0% | 1 | EA |  |  |  |  | 0
621 |  | SP-1: Sump Pump | 12 | 0% | 12 | EA |  |  |  |  | 0
622 |  | SP-2: Sump Pump | 12 | 0% | 12 | EA |  |  |  |  | 0
623 |  | Flow Switch | 13 | 0% | 13 | EA |  |  |  |  | 0
624 |  | Tamper Switch | 13 | 0% | 13 | EA |  |  |  |  | 0
625 |  | Outside Screw & Yoke Gate Valve | 8 | 0% | 8 | EA |  |  |  |  | 0
626 |  | Roof Manifold Valve | 2 | 0% | 2 | EA |  |  |  |  | 0
| DIV.23 | MECHANICAL | [9 empty] | 0
DUCTS
627 |  | 10" Dia Duct | 7.19 | 10% | 7.909 | LF |  |  |  |  | 0
628 |  | 10" Dia Flexible Duct | 190.84 | 10% | 209.924 | LF |  |  |  |  | 0
629 |  | 10" Dia Generator Exhaust Pipe | 8.8 | 10% | 9.68 | LF |  |  |  |  | 0
630 |  | 10x10 Duct | 12.99 | 10% | 14.289 | LF |  |  |  |  | 0
631 |  | 10x12 Duct | 7.53 | 10% | 8.283 | LF |  |  |  |  | 0
632 |  | 10x22 Duct | 12 | 10% | 13.2 | LF |  |  |  |  | 0
633 |  | 10x6 Duct | 579.14 | 10% | 637.054 | LF |  |  |  |  | 0
634 |  | 10x8 Duct | 605.38 | 10% | 665.918 | LF |  |  |  |  | 0
635 |  | 12" Dia Duct | 86 | 10% | 94.6 | LF |  |  |  |  | 0
636 |  | 12" Vent Pipe | 21.97 | 10% | 24.167 | LF |  |  |  |  | 0
637 |  | 12x10 Duct | 18.3 | 10% | 20.13 | LF |  |  |  |  | 0
638 |  | 12x12 Duct | 125.35 | 10% | 137.885 | LF |  |  |  |  | 0
639 |  | 12x6 Duct | 56.56 | 10% | 62.216 | LF |  |  |  |  | 0
640 |  | 12x8 Duct | 341.27 | 10% | 375.397 | LF |  |  |  |  | 0
641 |  | 12x22 Duct | 12 | 10% | 13.2 | LF |  |  |  |  | 0
642 |  | 14x12 Duct | 101.04 | 10% | 111.144 | LF |  |  |  |  | 0
643 |  | 14x22 Duct | 12 | 10% | 13.2 | LF |  |  |  |  | 0
644 |  | 14x6 Duct | 121.99 | 10% | 134.189 | LF |  |  |  |  | 0
645 |  | 16x12 Duct | 39.73 | 10% | 43.703 | LF |  |  |  |  | 0
646 |  | 16x6 Duct | 9.6 | 10% | 10.56 | LF |  |  |  |  | 0
647 |  | 16x8 Duct | 288.81 | 10% | 317.691 | LF |  |  |  |  | 0
648 |  | 18x12 Duct | 32.04 | 10% | 35.244 | LF |  |  |  |  | 0
649 |  | 18x14 Duct | 35.48 | 10% | 39.028 | LF |  |  |  |  | 0
650 |  | 18x16 Duct | 589 | 10% | 647.9 | LF |  |  |  |  | 0
651 |  | 18x22 Duct | 12 | 10% | 13.2 | LF |  |  |  |  | 0
652 |  | 2" Back Steel Fuel Fill Pipe | 14.03 | 10% | 15.433 | LF |  |  |  |  | 0
653 |  | 20x12 Duct | 53.02 | 10% | 58.322 | LF |  |  |  |  | 0
654 |  | 20x14 Duct | 31.39 | 10% | 34.529 | LF |  |  |  |  | 0
655 |  | 20x6 Duct | 60.55 | 10% | 66.605 | LF |  |  |  |  | 0
656 |  | 22x14 Duct | 10.87 | 10% | 11.957 | LF |  |  |  |  | 0
657 |  | 22x30 Duct | 2.35 | 10% | 2.585 | LF |  |  |  |  | 0
658 |  | 24x12 Duct | 5.94 | 10% | 6.534 | LF |  |  |  |  | 0
659 |  | 24x14 Duct | 31.25 | 10% | 34.375 | LF |  |  |  |  | 0
660 |  | 24x16 Duct | 44.03 | 10% | 48.433 | LF |  |  |  |  | 0
661 |  | 24x22 Duct | 24 | 10% | 26.4 | LF |  |  |  |  | 0
662 |  | 26x16 Duct | 15.11 | 10% | 16.621 | LF |  |  |  |  | 0
663 |  | 30x22 Duct | 178.59 | 10% | 196.449 | LF |  |  |  |  | 0
664 |  | 32" Dia Duct | 14.11 | 10% | 15.521 | LF |  |  |  |  | 0
665 |  | 4" Dia Dryer Exhaust Duct w/Wall Cap & Corrosion Resistant Insect Screen | 2188 | 10% | 2406.8 | LF |  |  |  |  | 0
666 |  | 4" Dia Flexible Duct | 655.2 | 10% | 720.72 | LF |  |  |  |  | 0
667 |  | 4" Dia Duct | 40.97 | 10% | 45.067 | LF |  |  |  |  | 0
668 |  | 4" Dia Toilet Exhaust Duct w/Wall Cap & Corrosion Resistant Insect Screen | 2815.7 | 10% | 3097.27 | LF |  |  |  |  | 0
669 |  | 40x26 Duct | 8.7 | 10% | 9.57 | LF |  |  |  |  | 0
670 |  | 40x26 Duct w/Stainless Steel Duct | 7.3 | 10% | 8.03 | LF |  |  |  |  | 0
671 |  | 50x22 Duct | 3.51 | 10% | 3.861 | LF |  |  |  |  | 0
672 |  | 6" Dia Duct | 137.76 | 10% | 151.536 | LF |  |  |  |  | 0
673 |  | 6" Dia Flexible Duct | 599.65 | 10% | 659.615 | LF |  |  |  |  | 0
674 |  | 6" Dia Toilet Exhaust Duct w/Wall Cap & Corrosion Resistant Insect Screen | 235.8 | 10% | 259.38 | LF |  |  |  |  | 0
675 |  | 6x10 Duct | 6.59 | 10% | 7.249 | LF |  |  |  |  | 0
676 |  | 6x6 Duct | 9.06 | 10% | 9.966 | LF |  |  |  |  | 0
677 |  | 6x6 Duct | 316.4 | 10% | 348.04 | LF |  |  |  |  | 0
678 |  | 8" Dia Duct | 186.19 | 10% | 204.809 | LF |  |  |  |  | 0
679 |  | 8" Dia Flexible Duct | 1792.15 | 10% | 1971.365 | LF |  |  |  |  | 0
680 |  | 8x6 Duct | 256.56 | 10% | 282.216 | LF |  |  |  |  | 0
681 |  | Refrigerant Lines | 9793.6 | 10% | 10772.96 | LF |  |  |  |  | 0
682 |  | Refrigerant Lines in 4" Underground PVC Sleeve | 253.03 | 10% | 278.333 | LF |  |  |  |  | 0
FIXTURES
683 |  | 4" Dia Wall Cap w/Corrosion Resistant Screen | 1 | 0% | 1 | EA |  |  |  |  | 0
684 |  | 40x26 Supply Air Diffuser w/Stainless Steel Mesh Down Roof | 1 | 0% | 1 | EA |  |  |  |  | 0
685 |  | 42x36 Rain Hood | 1 | 0% | 1 | EA |  |  |  |  | 0
686 |  | 6" Dia Wall Cap w/Corrosion Resistant Screen | 6 | 0% | 6 | EA |  |  |  |  | 0
687 |  | 8" Dia Wall Cap w/Backdraft Damper | 1 | 0% | 1 | EA |  |  |  |  | 0
688 |  | 8x8 100CFM (B) | 1 | 0% | 1 | EA |  |  |  |  | 0
689 |  | AHU-1: Split/AC Unit (TRANE TWE073) | 1 | 0% | 1 | EA |  |  |  |  | 0
690 |  | AHU-10: Split/AC Unit (MITSUBISHI MSY-GE-18NA-1) | 1 | 0% | 1 | EA |  |  |  |  | 0
691 |  | AHU-11: Split/AC Unit (MITSUBISHI MSY-GE-18NA-1) | 1 | 0% | 1 | EA |  |  |  |  | 0
692 |  | AHU-2: (TRANE TEM40C48S41SA) | 1 | 0% | 1 | EA |  |  |  |  | 0
693 |  | AHU-3: (TRANE TEM6A0C36H31SA) | 1 | 0% | 1 | EA |  |  |  |  | 0
694 |  | AHU-4: (TRANE TEM6A0C36H31SA) | 2 | 0% | 2 | EA |  |  |  |  | 0
695 |  | AHU-5: (TRANE TEM6A0B24H21SA) | 2 | 0% | 2 | EA |  |  |  |  | 0
696 |  | AHU-6: (TRANE TEM40C48S41SA) | 1 | 0% | 1 | EA |  |  |  |  | 0
697 |  | AHU-7: (TRANE TEM6A0B24H21SA) | 1 | 0% | 1 | EA |  |  |  |  | 0
698 |  | AHU-8: (TRANE TAM4A0A18S11ED) | 1 | 0% | 1 | EA |  |  |  |  | 0
699 |  | AHU-9: (TRANE TAM4A0A18S11ED) | 1 | 0% | 1 | EA |  |  |  |  | 0
700 |  | AHU-A1: (TRANE TMM40A18S21SA) | 21 | 0% | 21 | EA |  |  |  |  | 0
701 |  | AHU-A2: (TRANE TMM40A18S21SA) | 35 | 0% | 35 | EA |  |  |  |  | 0
702 |  | AHU-A3: (TRANE TMM40A18S21SA) | 99 | 0% | 99 | EA |  |  |  |  | 0
703 |  | AHU-B1: (TRANE TMM40A24S21SA) | 21 | 0% | 21 | EA |  |  |  |  | 0
704 |  | AHU-B2: (TRANE TMM40A18S21SA) | 20 | 0% | 20 | EA |  |  |  |  | 0
705 |  | AHU-B3: (TRANE TMM40A24S21SA) | 30 | 0% | 30 | EA |  |  |  |  | 0
706 |  | AHU-B4: (TRANE TMM40A18S21SA) | 35 | 0% | 35 | EA |  |  |  |  | 0
707 |  | AHU-B5: (TRANE TMM40A24S21SA) | 8 | 0% | 8 | EA |  |  |  |  | 0
708 |  | Automatic Fuel Port | 1 | 0% | 1 | EA |  |  |  |  | 0
709 |  | Barometric Relief | 2 | 0% | 2 | EA |  |  |  |  | 0
710 |  | Carbon Monoxide Detector | 1 | 0% | 1 | EA |  |  |  |  | 0
711 |  | Corrosion Resistant Diamond Mesh | 2 | 0% | 2 | EA |  |  |  |  | 0
712 |  | CU-1: Propeller | 1 | 0% | 1 | EA |  |  |  |  | 0
713 |  | CU-10: Propeller | 1 | 0% | 1 | EA |  |  |  |  | 0
714 |  | CU-11: Propeller | 1 | 0% | 1 | EA |  |  |  |  | 0
715 |  | CU-12: Propeller | 1 | 0% | 1 | EA |  |  |  |  | 0
716 |  | CU-2: Propeller | 1 | 0% | 1 | EA |  |  |  |  | 0
717 |  | CU-3: Propeller | 1 | 0% | 1 | EA |  |  |  |  | 0
718 |  | CU-4: Propeller | 1 | 0% | 1 | EA |  |  |  |  | 0
719 |  | CU-5: Propeller | 1 | 0% | 1 | EA |  |  |  |  | 0
720 |  | CU-6: Propeller | 1 | 0% | 1 | EA |  |  |  |  | 0
721 |  | CU-7: Propeller | 1 | 0% | 1 | EA |  |  |  |  | 0
722 |  | CU-9: Propeller | 1 | 0% | 1 | EA |  |  |  |  | 0
723 |  | CU-A1: Propeller | 6 | 0% | 6 | EA |  |  |  |  | 0
724 |  | CU-A2: Propeller | 8 | 0% | 8 | EA |  |  |  |  | 0
725 |  | CU-A3: Propeller | 9 | 0% | 9 | EA |  |  |  |  | 0
726 |  | CU-B1: Propeller | 9 | 0% | 9 | EA |  |  |  |  | 0
727 |  | CU-B2: Propeller | 9 | 0% | 9 | EA |  |  |  |  | 0
728 |  | CU-B3: Propeller | 8 | 0% | 8 | EA |  |  |  |  | 0
729 |  | CU-B4: Propeller | 10 | 0% | 10 | EA |  |  |  |  | 0
730 |  | CU-B5: Propeller | 9 | 0% | 9 | EA |  |  |  |  | 0
731 |  | Dryer Booster Fan FANTECH DBF4XL | 22 | 0% | 22 | EA |  |  |  |  | 0
732 |  | Duct Smoke Detector | 6 | 0% | 6 | EA |  |  |  |  | 0
733 |  | EF-1 : Exhaust Fan | 166 | 0% | 166 | EA |  |  |  |  | 0
734 |  | EF-10 : Exhaust Fan | 1 | 0% | 1 | EA |  |  |  |  | 0
735 |  | EF-13 : Exhaust Fan | 1 | 0% | 1 | EA |  |  |  |  | 0
736 |  | EF-2: Exhaust Fan | 1 | 0% | 1 | EA |  |  |  |  | 0
737 |  | EF-3 : Exhaust Fan | 1 | 0% | 1 | EA |  |  |  |  | 0
738 |  | EF-4 : Exhaust Fan | 1 | 0% | 1 | EA |  |  |  |  | 0
739 |  | EF-5 : Exhaust Fan | 1 | 0% | 1 | EA |  |  |  |  | 0
740 |  | EF-6 : Exhaust Fan | 1 | 0% | 1 | EA |  |  |  |  | 0
741 |  | EF-8 : Exhaust Fan | 1 | 0% | 1 | EA |  |  |  |  | 0
742 |  | EF-9 : Exhasut Fan | 2 | 0% | 2 | EA |  |  |  |  | 0
743 |  | Fire Damper | 76 | 0% | 76 | EA |  |  |  |  | 0
744 |  | Fire/Smoke Damper | 37 | 0% | 37 | EA |  |  |  |  | 0
745 |  | Greenheck Model #VCD-40 Alum. Motorized Damper | 1 | 0% | 1 | EA |  |  |  |  | 0
746 |  | Humidistat | 8 | 0% | 8 | EA |  |  |  |  | 0
747 |  | Manual Volume Damper | 68 | 0% | 68 | EA |  |  |  |  | 0
748 |  | Motorized Damper | 35 | 0% | 35 | EA |  |  |  |  | 0
749 |  | Pressure Switch | 22 | 0% | 22 | EA |  |  |  |  | 0
750 |  | Programmable Thermostat | 90 | 0% | 90 | EA |  |  |  |  | 0
751 |  | Recirculating Range Hood | 100 | 0% | 100 | EA |  |  |  |  | 0
752 |  | Return Air Diffuser | 3 | 0% | 3 | EA |  |  |  |  | 0
753 |  | RTU-1: Split/AC Unit | 1 | 0% | 1 | EA |  |  |  |  | 0
754 |  | RV-1: Intake/Relief Vent | 1 | 0% | 1 | EA |  |  |  |  | 0
755 |  | RV-2: Intake/Relief Vent | 1 | 0% | 1 | EA |  |  |  |  | 0
756 |  | SF-1: Supply Fan | 1 | 0% | 1 | EA |  |  |  |  | 0
757 |  | SF-2: Supply Fan | 1 | 0% | 1 | EA |  |  |  |  | 0
758 |  | Sub Base 500 Gallon Fuel Tank | 1 | 0% | 1 | EA |  |  |  |  | 0
759 |  | Thermostat | 112 | 0% | 112 | EA |  |  |  |  | 0
760 |  | 10x10 R: Wall/Ceiling/Return/Exhaust Grille (TITUS-23R) | 6 | 0% | 6 | EA |  |  |  |  | 0
761 |  | 10x6 100CFM R: Wall/Ceiling/Return/Exhaust Grille (TITUS-23R) | 2 | 0% | 2 | EA |  |  |  |  | 0
762 |  | 10x6 130CFM A: Square Ceiling Diffuser (TIRUS-250AA) | 1 | 0% | 1 | EA |  |  |  |  | 0
763 |  | 10x6 140CFM B: Sidewall Supply Grille (TITUS-272FL) | 33 | 0% | 33 | EA |  |  |  |  | 0
764 |  | 10x6 140CFM A: Square Ceiling Diffuser (TIRUS-250AA) | 8 | 0% | 8 | EA |  |  |  |  | 0
765 |  | 10x6 R: Wall/Ceiling/Return/Exhaust Grille (TITUS-23R) | 14 | 0% | 14 | EA |  |  |  |  | 0
766 |  | 12x12 R: Wall/Ceiling/Return/Exhaust Grille (TITUS-23R) | 2 | 0% | 2 | EA |  |  |  |  | 0
767 |  | 12x16 180CFM B: Sidewall Supply Grille (TITUS-272FL) | 21 | 0% | 21 | EA |  |  |  |  | 0
768 |  | 12x18 L: Drainable Louver (RUSKIN Model EME6625D) | 2 | 0% | 2 | EA |  |  |  |  | 0
769 |  | 12x6 R: Wall/Ceiling/Return/Exhaust Grille (TITUS-23R) | 11 | 0% | 11 | EA |  |  |  |  | 0
770 |  | 12x6 140CFM B: Sidewall Supply Grille (TITUS-272FL) | 11 | 0% | 11 | EA |  |  |  |  | 0
771 |  | 12x6 150CFM B: Sidewall Supply Grille (TITUS-272FL) | 11 | 0% | 11 | EA |  |  |  |  | 0
772 |  | 12x6 160CFM B: Sidewall Supply Grille (TITUS-272FL) | 99 | 0% | 99 | EA |  |  |  |  | 0
773 |  | 14x16 R: Wall/Ceiling/Return/Exhaust Grille (TITUS-23R) | 40 | 0% | 40 | EA |  |  |  |  | 0
774 |  | 14x6 R: Wall/Ceiling/Return/Exhaust Grille (TITUS-23R) | 50 | 0% | 50 | EA |  |  |  |  | 0
775 |  | 14x8 360CFM B: Sidewall Supply Grille (TITUS-272FL) | 11 | 0% | 11 | EA |  |  |  |  | 0
776 |  | 15x15 R: Wall/Ceiling/Return/Exhaust Grille (TITUS-23R) | 1 | 0% | 1 | EA |  |  |  |  | 0
777 |  | 16 GA Shroud (1) | 1 | 0% | 1 | EA |  |  |  |  | 0
778 |  | 16x16 R: Wall/Ceiling/Return/Exhaust Grille (TITUS-23R) | 88 | 0% | 88 | EA |  |  |  |  | 0
779 |  | 16x20 R: Wall/Ceiling/Return/Exhaust Grille (TITUS-23R) | 1 | 0% | 1 | EA |  |  |  |  | 0
780 |  | 16x8 360CFM B: Sidewall Supply Grille (TITUS-272FL) | 33 | 0% | 33 | EA |  |  |  |  | 0
781 |  | 16x8 380CFM B: Sidewall Supply Grille (TITUS-272FL) | 44 | 0% | 44 | EA |  |  |  |  | 0
782 |  | 18x14 R: Wall/Ceiling/Return/Exhaust Grille (TITUS-23R) | 14 | 0% | 14 | EA |  |  |  |  | 0
783 |  | 18x18 R: Wall/Ceiling/Return/Exhaust Grille (TITUS-23R) | 1 | 0% | 1 | EA |  |  |  |  | 0
784 |  | 18x24 L: Drainable Louver (RUSKIN Model EME6625D) | 4 | 0% | 4 | EA |  |  |  |  | 0
785 |  | 18x24 R: Wall/Ceiling/Return/Exhaust Grille (TITUS-23R) | 2 | 0% | 2 | EA |  |  |  |  | 0
786 |  | 18x4 R: Wall/Ceiling/Return/Exhaust Grille (TITUS-23R) | 2 | 0% | 2 | EA |  |  |  |  | 0
787 |  | 18x6 R: Wall/Ceiling/Return/Exhaust Grille (TITUS-23R) | 55 | 0% | 55 | EA |  |  |  |  | 0
788 |  | 24x12 L: Drainable Louver (RUSKIN Model EME6625D) | 1 | 0% | 1 | EA |  |  |  |  | 0
789 |  | 24x24 R: Wall/Ceiling/Return/Exhaust Grille (TITUS-23R) | 1 | 0% | 1 | EA |  |  |  |  | 0
790 |  | 2'-6" x 11" L: Drainable Louver (RUSKIN Model EME6625D) | 2 | 0% | 2 | EA |  |  |  |  | 0
791 |  | 30x22 R: Wall/Ceiling/Return/Exhaust Grille (TITUS-23R) | 2 | 0% | 2 | EA |  |  |  |  | 0
792 |  | 30x30 R: Wall/Ceiling/Return/Exhaust Grille (TITUS-23R) | 1 | 0% | 1 | EA |  |  |  |  | 0
793 |  | 36x36 L: Drainable Louver (RUSKIN Model EME6625D) | 1 | 0% | 1 | EA |  |  |  |  | 0
794 |  | 4" Dia Wall Cap w/Corrosion Resistant Screen (1) | 1 | 0% | 1 | EA |  |  |  |  | 0
795 |  | 40x26 Supply Air Diffuser w/Stainless Steel Mesh Down Roof | 1 | 0% | 1 | EA |  |  |  |  | 0
796 |  | 42x36 Rain Hood | 1 | 0% | 1 | EA |  |  |  |  | 0
797 |  | 6" Dia Wall Cap w/Corrosion Resistant Screen | 26 | 0% | 26 | EA |  |  |  |  | 0
798 |  | 6x6 100CFM B: Sidewall Supply Grille (TITUS-272FL) | 7 | 0% | 7 | EA |  |  |  |  | 0
799 |  | 6x6 100CFM A: Square Ceiling Diffuser (TIRUS-250AA) | 1 | 0% | 1 | EA |  |  |  |  | 0
800 |  | 8x6 110CFM A: Square Ceiling Diffuser (TIRUS-250AA) | 7 | 0% | 7 | EA |  |  |  |  | 0
801 |  | 6x6 50CFM A: Square Ceiling Diffuser (TIRUS-250AA) | 2 | 0% | 2 | EA |  |  |  |  | 0
802 |  | 6x6 80CFM A: Square Ceiling Diffuser (TIRUS-250AA) | 5 | 0% | 5 | EA |  |  |  |  | 0
803 |  | 8" Dia Wall Cap w/Backdraft Damper | 1 | 0% | 1 | EA |  |  |  |  | 0
804 |  | 80CFM A: Square Ceiling Diffuser (TIRUS-250AA) | 1 | 0% | 1 | EA |  |  |  |  | 0
805 |  | 8x6 10 CFM A: Square Ceiling Diffuser (TIRUS-250AA) | 11 | 0% | 11 | EA |  |  |  |  | 0
806 |  | 8x6 110CFM A: Square Ceiling Diffuser (TIRUS-250AA) | 37 | 0% | 37 | EA |  |  |  |  | 0
807 |  | 8x6 30CFM A: Square Ceiling Diffuser (TIRUS-250AA) | 120 | 0% | 120 | EA |  |  |  |  | 0
808 |  | 8x6 40CFM A: Square Ceiling Diffuser (TIRUS-250AA) | 32 | 0% | 32 | EA |  |  |  |  | 0
809 |  | 8x6 60CFM A: Square Ceiling Diffuser (TIRUS-250AA) | 2 | 0% | 2 | EA |  |  |  |  | 0
810 |  | 8x8 100CFM B: Sidewall Supply Grille (TITUS-272FL) | 11 | 0% | 11 | EA |  |  |  |  | 0
811 |  | 8x8 R: Wall/Ceiling/Return/Exhaust Grille (TITUS-23R) | 2 | 0% | 2 | EA |  |  |  |  | 0
812 |  | D: Linear Diffuser (TITUS-FL2O 2SLOTS) | 4 | 0% | 4 | EA |  |  |  |  | 0
813 |  | 200CFM D: Linear Diffuser (TITUS-FL2O 2SLOTS) | 30 | 0% | 30 | EA |  |  |  |  | 0
| DIV.26 | ELECTRICAL | [9 empty] | 0
Powe Items
814 |  | Columbia Lighting,Connected to generator | 32 | 0% | 32 | EA |  |  |  |  | 0
815 |  | Columbia Lighting,Connected to generator battery backup | 26 | 0% | 26 | EA |  |  |  |  | 0
816 |  | Columbia Lighting,LBIL led Bi-level Luminaire,Surface 55"L.x6"W.x4-1/2"H.Led Luminaire,White Reflector and diffused lens | 28 | 0% | 28 | EA |  |  |  |  | 0
817 |  | Columbia Lighting,LBIL led Bi-level Luminaire,Surface 55"L.x6"W.x4-1/2"H.Led Luminaire,White Reflector and diffused lens(Emergency Backup) | 8 | 0% | 8 | EA |  |  |  |  | 0
818 |  | DMF lighting LD2 (20) | 47 | 0% | 47 | EA |  |  |  |  | 0
819 |  | DMF Lighting,4" Square Recessed light (2) | 9 | 0% | 9 | EA |  |  |  |  | 0
820 |  | DMF Lighting,4" Square Recessed light Weather Proof (1) | 17 | 0% | 17 | EA |  |  |  |  | 0
821 |  | DMF Lighting,6" Recessed light (1) | 35 | 0% | 35 | EA |  |  |  |  | 0
822 |  | DMF lighting,Connected to generator (18) | 140 | 0% | 140 | EA |  |  |  |  | 0
823 |  | Led strip lights | 66 | 0% | 66 | EA |  |  |  |  | 0
824 |  | Prescolite,Connected to generator | 19 | 0% | 19 | EA |  |  |  |  | 0
825 |  | Spailding Lighting,Laredo LMC,30 LED,3000k,TYPE 4,700mA | 6 | 0% | 6 | EA |  |  |  |  | 0
826 |  | Spailding Lighting,Laredo LMC,30 LED,3000k,TYPE 4,700mA weather proof | 4 | 0% | 4 | EA |  |  |  |  | 0
827 |  | Spaulding Lighting,Connected to generator | 2 | 0% | 2 | EA |  |  |  |  | 0
828 |  | Spaulding Lighting,Laredo LMC,30 LED,3000k,TYPE 3,350mA | 3 | 0% | 3 | EA |  |  |  |  | 0
829 |  | Spaulding Lighting,Laredo LMC,30 LED,3000k,TYPE 3,350mA Weather proof | 3 | 0% | 3 | EA |  |  |  |  | 0
830 |  | 1x4 Fluorescent Pendant light Fixture | 103 | 0% | 103 | EA |  |  |  |  | 0
831 |  | 6" Recessed light | 514 | 0% | 514 | EA |  |  |  |  | 0
832 |  | Pendant light Fixture | 13 | 0% | 13 | EA |  |  |  |  | 0
833 |  | Prescolite,Connected to generator | 8 | 0% | 8 | EA |  |  |  |  | 0
834 |  | Provide Smoke detector Combo Strobe light | 10 | 0% | 10 | EA |  |  |  |  | 0
Light Item
835 |  | Carbon Monooxide system | 61 | 0% | 61 | EA |  |  |  |  | 0
836 |  | Disconnect Switch | 1070 | 0% | 1070 | EA |  |  |  |  | 0
837 |  | Door Bell | 80 | 0% | 80 | EA |  |  |  |  | 0
838 |  | Duplex Receptacle Outlet | 2260 | 0% | 2260 | EA |  |  |  |  | 0
839 |  | Duplex Receptacle Outlet,GFI,Water protecter | 460 | 0% | 460 | EA |  |  |  |  | 0
840 |  | Duplwx Receptacle Outlet,GFI,6Â° above counter | 290 | 0% | 290 | EA |  |  |  |  | 0
841 |  | Electrical Fans | 260 | 0% | 260 | EA |  |  |  |  | 0
842 |  | Electrical Panels | 140 | 0% | 140 | EA |  |  |  |  | 0
843 |  | Fire Alarm PhotoElectric Smoke Smoke Detector Ceiling Mounted | 280 | 0% | 280 | EA |  |  |  |  | 0
844 |  | ON/OFF Switches In Accessible Units for Garbage Disposal coordinate Exact location with Architect | 10 | 0% | 10 | EA |  |  |  |  | 0
845 |  | ON/OFF Switches In Accessible Units for Hood EXH.Fan and Hood light | 10 | 0% | 10 | EA |  |  |  |  | 0
846 |  | Single Pole Switch | 2560 | 0% | 2560 | EA |  |  |  |  | 0
847 |  | Single Receptacle Outlet | 290 | 0% | 290 | EA |  |  |  |  | 0
848 |  | Telephone Outlet | 190 | 0% | 190 | EA |  |  |  |  | 0
849 |  | Television | 280 | 0% | 280 | EA |  |  |  |  | 0
850 |  | Thermostate | 590 | 0% | 590 | EA |  |  |  |  | 0
851 |  | Triplex Receptacle Outlet | 100 | 0% | 100 | EA |  |  |  |  | 0
852 |  | Wall Mounted/Above Hung Ceiling Junction Mounted | 1030 | 0% | 1030 | EA |  |  |  |  | 0
853 |  | 20A,125V,3Wires Grounding type Single Receptacle | 5 | 0% | 5 | EA |  |  |  |  | 0
854 |  | 20A,250V,3 Wires Grounding type Single Receptacle | 3 | 0% | 3 | EA |  |  |  |  | 0
855 |  | Beacon Products,Connected to generator | 22 | 0% | 22 | EA |  |  |  |  | 0
856 |  | Beacon Products,Orbeon | 5 | 0% | 5 | EA |  |  |  |  | 0
857 |  | Beacon Products,Orbeon Weather Proof | 21 | 0% | 21 | EA |  |  |  |  | 0
858 |  | Combination Telephone (VOICE) And Data | 15 | 0% | 15 | EA |  |  |  |  | 0
859 |  | Duke Energy Pad Transformer | 1 | 0% | 1 | EA |  |  |  |  | 0
860 |  | Duplex Receptacle Outlet,GFI | 33 | 0% | 33 | EA |  |  |  |  | 0
861 |  | Emergency Machine | 34 | 0% | 34 | EA |  |  |  |  | 0
862 |  | Exhaust Fan | 29 | 0% | 29 | EA |  |  |  |  | 0
863 |  | Exhaust Fan weather proof | 27 | 0% | 27 | EA |  |  |  |  | 0
864 |  | Occupancy Sensor with override switch,Celing Mounted | 37 | 0% | 37 | EA |  |  |  |  | 0
865 |  | Special Recepticle Outlet | 4 | 0% | 4 | EA |  |  |  |  | 0
866 |  | Switches 2 30/ (*) | 4 | 0% | 4 | EA |  |  |  |  | 0
867 |  | Wall Mounted/Above Hung Ceiling Junction Mounted weather Proof | 15 | 0% | 15 | EA |  |  |  |  | 0
868 |  | Wall Mounted/Above Hung Ceiling Junction Mounted,GFI/Weather Proof/WR | 5 | 0% | 5 | EA |  |  |  |  | 0
869 |  | Wall Sponce Weather proof | 16 | 0% | 16 | EA |  |  |  |  | 0
870 |  | Weather Resistant | 1 | 0% | 1 | EA |  |  |  |  | 0
871 |  | Surface Mounted Ceiling Fixture | 1 | 0% | 1 | EA |  |  |  |  | 0
| DIV. 31 | EARTHWORK | [9 empty] | 0
EXCAVATION FOR FOOTINGS
872 |  | Excavation | 3219 | 10% | 3540.9 | CY |  |  |  |  | 0
873 |  | Boring for 16" AugerCasr Piles ( 80' Depth ) | 906 | 10% | 996.6 | CY |  |  |  |  | 0
874 |  | Backfill | 2543.4444 | 10% | 2797.7889 | CY |  |  |  |  | 0
SUB TOTAL | [10 empty] | 0 | 0
OVERHEAD & PROFIT (25%) | [9 empty] | 0.25 | 0 | 0
TOTAL BID | [10 empty] | 0 | 0
PREPARED BY :
Notes
1. This estimate is based on real market prices that are regularly updated by our team persons through market surveys and online resoures.
2. This sheet is your property and we encourage you to fine tune the wastage and pricing values to your preference.
3. Feel free to contact us for any queries or suggestions.