## Estimate
Estimate of Materials and Cost of Construction
| Date: | [12 empty] | Summary | Amount
| Project: | XYZ | [11 empty] | Subtotal | 1917022.5888
| Prepared By: | ResCom Estimation | [11 empty] | Profit/Overhead | 479255.6472
[14 empty] | Total | 2396278.236
ITEM # | CSI SECT | DESCRIPTION | QTY. | WASTAGE | QTY WITH WASTAGE | UNIT | UNIT LABOR COST | TOTAL LABOR COST | UNIT MAT. COST | TOTAL MAT. COST | LABOR HOUR RATE | TOTAL LABOR HOURS | UNIT COST (LAB+MAT) | TOTAL ITEM COST | TRADE COST
| DIV.01 | GENERAL REQUIREMENTS | [12 empty] | 0
1 |  | Permits Documentation And Fees | 1 | 0% | 1 | LS | [7 empty] | 0
2 |  | Hazardous Waste Or Disposal Work | 1 | 0% | 1 | LS | [7 empty] | 0
3 |  | Owner Purchased, Contractor Installed Items | 1 | 0% | 1 | LS | [7 empty] | 0
4 |  | Contractors Use Of New And Existing Facilities | 1 | 0% | 1 | LS | [7 empty] | 0
5 |  | Correction Of Unsatisfactory Conditions | 1 | 0% | 1 | LS | [7 empty] | 0
6 |  | Restoration Of Unit Damaged During Installation | 1 | 0% | 1 | LS | [7 empty] | 0
7 |  | Replacement Of Units Which Cannot Be Restored | 1 | 0% | 1 | LS | [7 empty] | 0
8 |  | Maintaining Existing Construction In Weather High Conditions | 1 | 0% | 1 | LS | [7 empty] | 0
9 |  | Signage | 1 | 0% | 1 | LS | [7 empty] | 0
10 |  | Supervisory Personnel | 1 | 0% | 1 | LS | [7 empty] | 0
11 |  | Temporary Services | 1 | 0% | 1 | LS | [7 empty] | 0
12 |  | Water | 1 | 0% | 1 | LS | [7 empty] | 0
13 |  | Lighting And Power | 1 | 0% | 1 | LS | [7 empty] | 0
14 |  | Toilet Facilities | 1 | 0% | 1 | LS | [7 empty] | 0
15 |  | Material Storage | 1 | 0% | 1 | LS | [7 empty] | 0
16 |  | Contractor's Safety Program | 1 | 0% | 1 | LS | [7 empty] | 0
| DIV.02 | DEMOLITION & SITEWORKS | [12 empty] | 41359.838
SITEWORKS
17 |  | Concrete Driveway , ( 6" thick concrete pavement w/ W6.1 WWF reinforcement ) | 3040.3 | 10% | 3344.33 | SF | 3.198 | 10695.1673 | 5.002 | 16728.3387 | 71.5 | 149.5828 | 8.2 | 27423.506
18 |  | Water Feature | 1 | 0% | 1 | EA | 253.5 | 253.5 | 396.5 | 396.5 | 71.5 | 3.5455 | 650 | 650
19 |  | Remove Tree | 2 | 0% | 2 | EA | 350 | 700 |  |  | 71.5 | 9.7902 | 350 | 700
20 |  | Protect Area For Planting | 9535.1 | 10% | 10488.61 | SF | 0.468 | 4908.6695 | 0.732 | 7677.6625 | 71.5 | 68.6527 | 1.2 | 12586.332
| DIV.03 | CONCRETE | [12 empty] | 131124.3026
COUNTINOUS FOOTING
21 |  | 18" Wide x 10" High Count. Concrete Footing w/ (3) #4 CONT. Bars | 10.44 | 10% | 11.484 | CY | 325.65 | 3739.7706 | 509.35 | 5849.3847 | 71.5 | 52.3045 | 835 | 9589.1553
22 |  | 3'-6" Wide x 1'-0" High Retaining Wall Count. Footing w/ (3) #4 CONT. & #4 Trans. @ 24" OC. | 0.78944 | 10% | 0.86839 | CY | 325.65 | 282.7908 | 509.35 | 442.3139 | 71.5 | 3.9551 | 835 | 725.1047
23 |  | 22" Wide x 10" High Count. Concrete Footing w/ (3) #4 CONT. Bars | 2.3537 | 10% | 2.5891 | CY | 325.65 | 843.1423 | 509.35 | 1318.761 | 71.5 | 11.7922 | 835 | 2161.9033
24 |  | 16" Wide x 8" High CONT. Footing w/ (2) #4 CONT. Bars | 1.8456 | 10% | 2.0301 | CY | 325.65 | 661.1098 | 509.35 | 1034.0436 | 71.5 | 9.2463 | 835 | 1695.1534
25 |  | 3'-10" Wide x 1'-0" High Retaining Wall Count. Footing w/ (3) #4 CONT. & #4 Trans. @ 24" OC. | 12.3624 | 10% | 13.5986 | CY | 325.65 | 4428.3931 | 509.35 | 6926.4611 | 71.5 | 61.9356 | 835 | 11354.8542
26 |  | 16" Wide x 10" High Count. Concrete Footing w/ (3) #4 CONT. Bars | 0.28086 | 10% | 0.30895 | CY | 325.65 | 100.6088 | 509.35 | 157.3625 | 71.5 | 1.4071 | 835 | 257.9713
27 |  | 14" Wide x 8" High Count. Concrete Footing w/ (3) #4 CONT. Bars | 0.13003 | 10% | 0.14304 | CY | 325.65 | 46.5803 | 509.35 | 72.8564 | 71.5 | 0.65147 | 835 | 119.4368
CONCRETE PAD FOOTING
28 |  | 2'-0" x 1'-4" x 10" Deep Concrete Pad Footing w/ Reinforcement | 0.16354 | 10% | 0.17989 | CY | 333.45 | 59.9859 | 521.55 | 93.8241 | 71.5 | 0.83896 | 855 | 153.8101
29 |  | 2'-0" x 2'-0"x 10" Deep Concrete PAd Footing w/ Reinforcement | 0.9837 | 10% | 1.0821 | CY | 333.45 | 360.8176 | 521.55 | 564.3557 | 71.5 | 5.0464 | 855 | 925.1733
30 |  | 3'-0" x 5'-0" x 10" Deep Concrete Pad Footing w/ Reinforcement | 0.46111 | 10% | 0.50722 | CY | 333.45 | 169.1333 | 521.55 | 264.5417 | 71.5 | 2.3655 | 855 | 433.675
31 |  | 6'-0" x9'-0" x 12" Deep Concrete Pad Footing w/ Reinfrocement | 2 | 10% | 2.2 | CY | 333.45 | 733.59 | 521.55 | 1147.41 | 71.5 | 10.26 | 855 | 1881
32 |  | 3'-4" x 16'-0" x 12" Deep Concrete pad Footing w/ Reinforcement | 1.9733 | 10% | 2.1707 | CY | 333.45 | 723.8088 | 521.55 | 1132.1112 | 71.5 | 10.1232 | 855 | 1855.92
CONCRETE FOUNDATION WALLS
33 |  | 10" Poured Concrete Foundation Wall w/ #4 HORIZ. @ TOM, MID & BOT. CENT. In 6" Full HT. Wall (11'-0" High ) | 53.3801 | 10% | 58.7181 | CY | 304.2 | 17862.0379 | 475.8 | 27938.0593 | 71.5 | 249.8187 | 780 | 45800.0972
34 |  | 14" Poured Concrete Foundation Wall w/ #4 HORIZ. @ TOM, MID & BOT. CENT. In 6" Full HT. Wall (11'-0" High ) | 9.7804 | 10% | 10.7585 | CY | 304.2 | 3272.7261 | 475.8 | 5118.8793 | 71.5 | 45.7724 | 780 | 8391.6054
35 |  | 10" Poured Concrete Foundation Wall w/ #4 HORIZ. @ TOM, MID & BOT. CENT. In 6" Full HT. Wall (2'-8" High ) | 2.2965 | 10% | 2.5262 | CY | 304.2 | 768.467 | 475.8 | 1201.9611 | 71.5 | 10.7478 | 780 | 1970.4281
36 |  | 10" Poured Concrete Foundation Wall w/ #4 HORIZ. @ TOM, MID & BOT. CENT. In 6" Full HT. Wall (5'-0" High ) | 4.0455 | 10% | 4.45 | CY | 304.2 | 1353.699 | 475.8 | 2117.3241 | 71.5 | 18.9329 | 780 | 3471.0231
RETAINING WALLS
37 |  | 14" Thick Retaining Wall w/ (4) #4 Horizontal Equal Spaced & #5 @ 30" OC. Adjacent to #5 Vertical (4'-0" High ) | 1.0898 | 10% | 1.1988 | CY | 343.2 | 411.4129 | 536.8 | 643.492 | 71.5 | 5.754 | 880 | 1054.9049
38 |  | 16" Thick Retaining Wall w/ (4) #4 Horizontal Equal Spaced & #5 @ 30" OC. Adjacent to #5 Vertical (4'-0" High ) | 16.6299 | 10% | 18.2929 | CY | 343.2 | 6278.1296 | 536.8 | 9819.6387 | 71.5 | 87.806 | 880 | 16097.7683
CONCRETE SLAB
39 |  | 4" Poured Concrete Slab w/ Reinforcement | 2449.29 | 10% | 2694.219 | SF | 2.028 | 5463.8761 | 3.172 | 8546.0627 | 71.5 | 76.4178 | 5.2 | 14009.9388
40 |  | 2" Rigid Insulation Below Vapour Barrier | 2449.29 | 10% | 2694.219 | SF | 0.819 | 2206.5654 | 1.281 | 3451.2945 | 71.5 | 30.8611 | 2.1 | 5657.8599
41 |  | 8" Flexcore w/ MIn. 3" Comp Topping w/ 2/Membrane w/ slope COnc to Drain | 710.61 | 10% | 781.671 | SF | 1.755 | 1371.8326 | 2.745 | 2145.6869 | 71.5 | 19.1865 | 4.5 | 3517.5195
| DIV.05 | METALS | [12 empty] | 15611.4508
BEAMS
42 |  | W12x45 | 22.74 | 10% | 25.014 | LF | 17.706 | 442.8979 | 27.694 | 692.7377 | 71.5 | 6.1944 | 45.4 | 1135.6356
43 |  | W8x24 | 6.68 | 10% | 7.348 | LF | 17.472 | 128.3843 | 27.328 | 200.8061 | 71.5 | 1.7956 | 44.8 | 329.1904
44 |  | W10x45 | 12.12 | 10% | 13.332 | LF | 18.915 | 252.1748 | 29.585 | 394.4272 | 71.5 | 3.5269 | 48.5 | 646.602
45 |  | W10x45 | 19.13 | 10% | 21.043 | LF | 16.185 | 340.581 | 25.315 | 532.7035 | 71.5 | 4.7634 | 41.5 | 873.2845
46 |  | W12x30 | 19.79 | 10% | 21.769 | LF | 20.085 | 437.2304 | 31.415 | 683.8731 | 71.5 | 6.1151 | 51.5 | 1121.1035
47 |  | W12x53 w/ 3/8" Camber | 38.8 | 10% | 42.68 | LF | 16.185 | 690.7758 | 25.315 | 1080.4442 | 71.5 | 9.6612 | 41.5 | 1771.22
48 |  | W16x45 w/ 1/4" Camber | 19.75 | 10% | 21.725 | LF | 16.575 | 360.0919 | 25.925 | 563.2206 | 71.5 | 5.0362 | 42.5 | 923.3125
49 |  | W 14 x30 | 23.16 | 10% | 25.476 | LF | 17.55 | 447.1038 | 27.45 | 699.3162 | 71.5 | 6.2532 | 45 | 1146.42
50 |  | W 14 x30 | 23.16 | 10% | 25.476 | LF | 17.55 | 447.1038 | 27.45 | 699.3162 | 71.5 | 6.2532 | 45 | 1146.42
51 |  | W 14 x30 | 22.91 | 10% | 25.201 | LF | 17.55 | 442.2776 | 27.45 | 691.7674 | 71.5 | 6.1857 | 45 | 1134.045
52 |  | W14x30 | 45.01 | 10% | 49.511 | LF | 17.55 | 868.9181 | 27.45 | 1359.077 | 71.5 | 12.1527 | 45 | 2227.995
53 |  | W 16 x45 | 27.51 | 10% | 30.261 | LF | 19.305 | 584.1886 | 30.195 | 913.7309 | 71.5 | 8.1705 | 49.5 | 1497.9195
STEEL COLUMN
54 |  | HSS4x4 Column | 72 | 10% | 30.261 | LF | 21.372 | 646.7381 | 33.428 | 1011.5647 | 71.5 | 9.0453 | 54.8 | 1658.3028
| DIV.06 | WOODS, PLASTICS & COMPOSITES | [12 empty] | 335282.1484
BEAMS , HEADERS
55 |  | (3) 1-3/4" x 11-7/8" LVL | 116.52 | 10% | 128.172 | LF | 17.706 | 2269.4134 | 27.694 | 3549.5954 | 71.5 | 31.74 | 45.4 | 5819.0088
56 |  | (3) 2x10 Header | 69.68 | 10% | 76.648 | LF | 12.285 | 941.6207 | 19.215 | 1472.7913 | 71.5 | 13.1695 | 31.5 | 2414.412
57 |  | Girder Truss | 41.8 | 10% | 45.98 | LF | 16.575 | 762.1185 | 25.925 | 1192.0315 | 71.5 | 10.659 | 42.5 | 1954.15
58 |  | (2) 1-3/4" x 11-1/4" LVL | 54.05 | 10% | 59.455 | LF | 11.115 | 660.8423 | 17.385 | 1033.6252 | 71.5 | 9.2425 | 28.5 | 1694.4675
59 |  | (3) 2x12 Stringers | 93.57 | 10% | 102.927 | LF | 12.285 | 1264.4582 | 19.215 | 1977.7423 | 71.5 | 17.6847 | 31.5 | 3242.2005
60 |  | 3-1/4" x 9-1/4" LVL | 41.67 | 10% | 45.837 | LF | 5.655 | 259.2082 | 8.845 | 405.4283 | 71.5 | 3.6253 | 14.5 | 664.6365
61 |  | (2) 3-1/4" x 9-1/4" LVL | 49.69 | 10% | 54.659 | LF | 8.385 | 458.3157 | 13.115 | 716.8528 | 71.5 | 6.41 | 21.5 | 1175.1685
62 |  | (2) 1-3/4" x 11-7/8" LVL | 85.32 | 10% | 93.852 | LF | 8.385 | 786.949 | 13.115 | 1230.869 | 71.5 | 11.0063 | 21.5 | 2017.818
63 |  | 10x12 Cedar Beam | 24.8 | 10% | 27.28 | LF | 11.076 | 302.1533 | 17.324 | 472.5987 | 71.5 | 4.2259 | 28.4 | 774.752
64 |  | (3) 1-3/4" x 9-1/4" LVL | 6.95 | 10% | 7.645 | LF | 14.82 | 113.2989 | 23.18 | 177.2111 | 71.5 | 1.5846 | 38 | 290.51
65 |  | (3) 1-3/4"x 9-1/4" LVL | 28.01 | 10% | 30.811 | LF | 14.82 | 456.619 | 23.18 | 714.199 | 71.5 | 6.3863 | 38 | 1170.818
66 |  | (3) 1-3/4" x 11-1/4"' LVL | 94.63 | 10% | 104.093 | LF | 16.185 | 1684.7452 | 25.315 | 2635.1143 | 71.5 | 23.5629 | 41.5 | 4319.8595
67 |  | 12x10 Cedar | 9.28 | 10% | 10.208 | LF | 11.31 | 115.4525 | 17.69 | 180.5795 | 71.5 | 1.6147 | 29 | 296.032
COLUMNS
68 |  | (2) 1-3/4" 11-1/4" LVL Column | 72 | 10% | 79.2 | LF | 13.806 | 1093.4352 | 21.594 | 1710.2448 | 71.5 | 15.2928 | 35.4 | 2803.68
FLOOR FRAMING
69 |  | 20" Floor Trusses @ 19.2" OC. | 3515.13 | 10% | 3866.643 | SF | 2.106 | 8143.1502 | 3.294 | 12736.722 | 71.5 | 113.8902 | 5.4 | 20879.8722
70 |  | 11-7/8" I -Joist @ 16" OC. | 2189.7 | 10% | 2408.67 | SF | 1.482 | 3569.6489 | 2.318 | 5583.2971 | 71.5 | 49.9252 | 3.8 | 9152.946
71 |  | 3/4" Sub-Floor Plywood Sheathing | 5704.83 | 10% | 6275.313 | SF | 1.404 | 8810.5395 | 2.196 | 13780.5873 | 71.5 | 123.2243 | 3.6 | 22591.1268
72 |  | Full BATT Insulation | 5704.83 | 10% | 6275.313 | SF | 0.858 | 5384.2186 | 1.342 | 8421.47 | 71.5 | 75.3038 | 2.2 | 13805.6886
ROOF FRAMING
73 |  | 2x10 Roof RaLFers @ 16"OC. | 1598.6998 | 10% | 1758.5697 | SF | 1.248 | 2194.695 | 1.952 | 3432.7281 | 71.5 | 30.695 | 3.2 | 5627.4232
74 |  | Roof Trusses @ 24" OC. | 1194.7282 | 10% | 1314.201 | SF | 1.989 | 2613.9459 | 3.111 | 4088.4794 | 71.5 | 36.5587 | 5.1 | 6702.4253
75 |  | 2x6 Roof RaLFers @ 16" OC. | 4374.2383 | 10% | 4811.6621 | SF | 1.17 | 5629.6446 | 1.83 | 8805.3416 | 71.5 | 78.7363 | 3 | 14434.9863
76 |  | 2x8 Roof RaLFers @ 16"OC. | 687.6383 | 10% | 756.4021 | SF | 1.248 | 943.9898 | 1.952 | 1476.4969 | 71.5 | 13.2027 | 3.2 | 2420.4867
77 |  | 2x12 Roof Rafetrs @ 16"OC | 572.0988 | 10% | 629.3087 | SF | 1.404 | 883.5494 | 2.196 | 1381.9619 | 71.5 | 12.3573 | 3.6 | 2265.5112
78 |  | 2x6 CJ @ 16"OC. | 978.81 | 10% | 1076.691 | SF | 1.092 | 1175.7466 | 1.708 | 1838.9882 | 71.5 | 16.444 | 2.8 | 3014.7348
79 |  | 2x8 CJ ( Collar Ties ) @ 16"OC. | 230.15 | 10% | 253.165 | SF | 1.092 | 276.4562 | 1.708 | 432.4058 | 71.5 | 3.8665 | 2.8 | 708.862
80 |  | 1/2" Plywood Sheathing | 8427 | 10% | 9269.7 | SF | 1.404 | 13014.6588 | 2.196 | 20356.2612 | 71.5 | 182.0232 | 3.6 | 33370.92
EXTERIOR WALLS
2x6 EXTERIOR
81 |  | 2x6 Studs Framing @ 16" OC. | 4625.55 | 10% | 5088.105 | SF | 1.092 | 5556.2107 | 1.708 | 8690.4833 | 71.5 | 77.7092 | 2.8 | 14246.694
82 |  | 1/2" Exterior Wall Plywood Shetahing | 4625.55 | 10% | 5088.105 | SF | 1.326 | 6746.8272 | 2.074 | 10552.7298 | 71.5 | 94.3612 | 3.4 | 17299.557
83 |  | 5/8" Gypsum Board @ Interior Side | 4625.55 | 10% | 5088.105 | SF | 1.209 | 6151.5189 | 1.891 | 9621.6066 | 71.5 | 86.0352 | 3.1 | 15773.1255
84 |  | R-15 BATT Insulation | 4625.55 | 10% | 5088.105 | SF | 0.858 | 4365.5941 | 1.342 | 6828.2369 | 71.5 | 61.0573 | 2.2 | 11193.831
85 |  | #15 Felt Paper | 4625.55 | 10% | 5088.105 | SF | 0.702 | 3571.8497 | 1.098 | 5586.7393 | 71.5 | 49.9559 | 1.8 | 9158.589
FURRING WALLS
2X4 Furring Wall @ Lower Level
86 |  | 2x4 Furring Studs @ 16" OC. | 3101.89 | 10% | 3412.079 | SF | 0.897 | 3060.6349 | 1.403 | 4787.1468 | 71.5 | 42.8061 | 2.3 | 7847.7817
87 |  | 5/8" Gypsum Board @ Interior Side | 3101.89 | 10% | 3412.079 | SF | 1.209 | 4125.2035 | 1.891 | 6452.2414 | 71.5 | 57.6952 | 3.1 | 10577.4449
2x8 Furring Wall @ Lower Level
88 |  | 2x8 Studs Framing @ 16" OC. | 138.27 | 10% | 152.097 | SF | 1.248 | 189.8171 | 1.952 | 296.8933 | 71.5 | 2.6548 | 3.2 | 486.7104
89 |  | 5/8" Gypsum Board @ Interior Side | 138.27 | 10% | 152.097 | SF | 1.209 | 183.8853 | 1.891 | 287.6154 | 71.5 | 2.5718 | 3.1 | 471.5007
1x3 Furring WALLS
90 |  | 1x3 Furring Strips @ 16" OC. | 248.38 | 10% | 273.218 | SF | 0.741 | 202.4545 | 1.159 | 316.6597 | 71.5 | 2.8315 | 1.9 | 519.1142
91 |  | 5/8" Gypsum Board @ Interior Side | 248.38 | 10% | 273.218 | SF | 1.209 | 330.3206 | 1.891 | 516.6552 | 71.5 | 4.6199 | 3.1 | 846.9758
INTERIOR WALLS
2X4 INTEROR WALL
92 |  | 2x4 Studs Framing @ 16" OC. | 4721.76 | 10% | 5193.936 | SF | 1.014 | 5266.6511 | 1.586 | 8237.5825 | 71.5 | 73.6595 | 2.6 | 13504.2336
93 |  | 5/8" Gypsum Board @ Both Sides | 9443.52 | 10% | 10387.872 | SF | 1.209 | 12558.9372 | 1.891 | 19643.466 | 71.5 | 175.6495 | 3.1 | 32202.4032
94 |  | Closed Cell Spray Foam Insulation | 4721.76 | 10% | 5193.936 | SF | 0.975 | 5064.0876 | 1.525 | 7920.7524 | 71.5 | 70.8264 | 2.5 | 12984.84
2X6 INTEROR WALL
95 |  | 2x6 Studs Framing @ 16" OC. | 2480.49 | 10% | 2728.539 | SF | 1.092 | 2979.5646 | 1.708 | 4660.3446 | 71.5 | 41.6722 | 2.8 | 7639.9092
96 |  | 5/8" Gypsum Board @ Both Sides | 4960.98 | 10% | 5457.078 | SF | 1.209 | 6597.6073 | 1.891 | 10319.3345 | 71.5 | 92.2742 | 3.1 | 16916.9418
| DIV.07 | THERMAL & MOISTURE CONTROL | [12 empty] | 124916.132
ROOOFING
97 |  | Metal Drip Edge | 758.3 | 10% | 834.13 | LF | 2.418 | 2016.9263 | 3.782 | 3154.6797 | 71.5 | 28.2088 | 6.2 | 5171.606
98 |  | 6 K Style Gutter | 357.9 | 10% | 393.69 | LF | 5.655 | 2226.3169 | 8.845 | 3482.1881 | 71.5 | 31.1373 | 14.5 | 5708.505
99 |  | DOWN SPOUTS | 402.6 | 10% | 442.86 | LF | 4.485 | 1986.2271 | 7.015 | 3106.6629 | 71.5 | 27.7794 | 11.5 | 5092.89
100 |  | RIDGE VENT | 312 | 10% | 343.2 | LF | 2.418 | 829.8576 | 3.782 | 1297.9824 | 71.5 | 11.6064 | 6.2 | 2127.84
101 |  | PROTECTED W/ FULLY ADHERED ICE & WATER SHIELD | 3786.9 | 10% | 4165.59 | SF | 2.262 | 9422.5646 | 3.538 | 14737.8574 | 71.5 | 131.7841 | 5.8 | 24160.422
102 |  | ROOFING SHINGLES | 8427 | 10% | 9269.7 | SF | 1.872 | 17352.8784 | 2.928 | 27141.6816 | 71.5 | 242.6976 | 4.8 | 44494.56
103 |  | 2x8 Fascia | 758.3 | 10% | 834.13 | LF | 6.435 | 5367.6265 | 10.065 | 8395.5184 | 71.5 | 75.0717 | 16.5 | 13763.145
104 |  | 1/2" T Soffit | 758.3 | 10% | 834.13 | LF | 1.872 | 1561.4914 | 2.928 | 2442.3326 | 71.5 | 21.839 | 4.8 | 4003.824
105 |  | Open Cell Spray Form | 8427 | 10% | 9269.7 | SF | 0.858 | 7953.4026 | 1.342 | 12439.9374 | 71.5 | 111.2364 | 2.2 | 20393.34
| DIV.08 | OPENINGS | [12 empty] | 80115
DOORS
106 |  | 9'-0" x 8'-0"' Garage Door | 2 | 0% | 2 | EA | 721.5 | 1443 | 1128.5 | 2257 | 71.5 | 20.1818 | 1850 | 3700
107 |  | 3'-0" x 8'-0" Exterior . 2- panel Door | 2 | 0% | 2 | EA | 429 | 858 | 671 | 1342 | 71.5 | 12 | 1100 | 2200
108 |  | 3'-0" x 8'-0" 2 Panel Door | 19 | 0% | 19 | EA | 370.5 | 7039.5 | 579.5 | 11010.5 | 71.5 | 98.4545 | 950 | 18050
109 |  | 2'-6" x 8'-0" , 2 Panel Door | 9 | 0% | 9 | EA | 280.8 | 2527.2 | 439.2 | 3952.8 | 71.5 | 35.3455 | 720 | 6480
110 |  | PK 3'-0" x 8'-0" , 2 Panel Door | 3 | 0% | 3 | EA | 351 | 1053 | 549 | 1647 | 71.5 | 14.7273 | 900 | 2700
111 |  | 18'-0" x 8''-0" Garage Door | 1 | 0% | 1 | EA | 819 | 819 | 1281 | 1281 | 71.5 | 11.4545 | 2100 | 2100
112 |  | 2'-10" x 8'-0" , 2-Panel Door | 1 | 0% | 1 | EA | 331.5 | 331.5 | 518.5 | 518.5 | 71.5 | 4.6364 | 850 | 850
113 |  | PK 2'-4" x 8'-0" , 2- Panel Door | 1 | 0% | 1 | EA | 253.5 | 253.5 | 396.5 | 396.5 | 71.5 | 3.5455 | 650 | 650
114 |  | 3'-6" x 8'-0" 2-Panel Door | 2 | 0% | 2 | EA | 312 | 624 | 488 | 976 | 71.5 | 8.7273 | 800 | 1600
115 |  | 2'-8" x 8'-0" ,2-Panel Door | 6 | 0% | 6 | EA | 304.2 | 1825.2 | 475.8 | 2854.8 | 71.5 | 25.5273 | 780 | 4680
116 |  | 9'-0" x 8'-0" Garage Door | 1 | 0% | 1 | EA | 721.5 | 721.5 | 1128.5 | 1128.5 | 71.5 | 10.0909 | 1850 | 1850
117 |  | PK 2'-6" x 8'-0" , 2-Panel Door | 1 | 0% | 1 | EA | 370.5 | 370.5 | 579.5 | 579.5 | 71.5 | 5.1818 | 950 | 950
118 |  | 2'-6" x 7'-0" Glass Shower Door | 1 | 0% | 1 | EA | 312 | 312 | 488 | 488 | 71.5 | 4.3636 | 800 | 800
119 |  | USFD 9'-0"' x8'-0" MARVIN Sliding Door | 1 | 0% | 1 | EA | 936 | 936 | 1464 | 1464 | 71.5 | 13.0909 | 2400 | 2400
120 |  | UIFD 5'-0" x 8'-0" MARVIN French Door | 1 | 0% | 1 | EA | 741 | 741 | 1159 | 1159 | 71.5 | 10.3636 | 1900 | 1900
121 |  | PK 2'-4" x 6'-8" , 2-Panel Door | 7 | 0% | 7 | EA | 304.2 | 2129.4 | 475.8 | 3330.6 | 71.5 | 29.7818 | 780 | 5460
122 |  | 2'-4" x 6'-8" , 2-Panel Door | 1 | 0% | 1 | EA | 292.5 | 292.5 | 457.5 | 457.5 | 71.5 | 4.0909 | 750 | 750
123 |  | 2'-6" x 6'-8" , 2-Panel Door | 7 | 0% | 7 | EA | 292.5 | 2047.5 | 457.5 | 3202.5 | 71.5 | 28.6364 | 750 | 5250
124 |  | 3'-0" x 6'-8" , 2-Panel Door | 3 | 0% | 3 | EA | 292.5 | 877.5 | 457.5 | 1372.5 | 71.5 | 12.2727 | 750 | 2250
WINDOWS
125 |  | (3) UCA 2'-4" x 4'-0" Casement | 2 | 0% | 2 | EA | 169.65 | 339.3 | 265.35 | 530.7 | 71.5 | 4.7455 | 435 | 870
126 |  | UCA 2'-4" x 6'-0" Casement | 6 | 0% | 6 | EA | 187.2 | 1123.2 | 292.8 | 1756.8 | 71.5 | 15.7091 | 480 | 2880
127 |  | UCA 3'-6" x 6'-0" Casement | 2 | 0% | 2 | EA | 169.65 | 339.3 | 265.35 | 530.7 | 71.5 | 4.7455 | 435 | 870
128 |  | (2) UCA 3'-0" x2'-4" E , TRANSOM | 2 | 0% | 2 | EA | 169.65 | 339.3 | 265.35 | 530.7 | 71.5 | 4.7455 | 435 | 870
129 |  | (2) UCA 3'-0" x 6'-4" E , casement | 3 | 0% | 3 | EA | 169.65 | 508.95 | 265.35 | 796.05 | 71.5 | 7.1182 | 435 | 1305
130 |  | (2) UCA 2'-4' x4'-4" Casement | 3 | 0% | 3 | EA | 169.65 | 508.95 | 265.35 | 796.05 | 71.5 | 7.1182 | 435 | 1305
131 |  | (2) UCA 2'-8" x 4'-4" Casement | 2 | 0% | 2 | EA | 169.65 | 339.3 | 265.35 | 530.7 | 71.5 | 4.7455 | 435 | 870
132 |  | (2) UCA 2'-8" x 4'-8" Casement | 1 | 0% | 1 | EA | 169.65 | 169.65 | 265.35 | 265.35 | 71.5 | 2.3727 | 435 | 435
133 |  | (2) UCA 2'-8" x 8'-4" Casemment | 2 | 0% | 2 | EA | 169.65 | 339.3 | 265.35 | 530.7 | 71.5 | 4.7455 | 435 | 870
134 |  | (2) UCA 2;-8" x 6'-4" Casement | 1 | 0% | 1 | EA | 169.65 | 169.65 | 265.35 | 265.35 | 71.5 | 2.3727 | 435 | 435
135 |  | (3) UCA 3'-0" x 8'-4" Casement | 1 | 0% | 1 | EA | 169.65 | 169.65 | 265.35 | 265.35 | 71.5 | 2.3727 | 435 | 435
136 |  | UCA 3'-0" x 4'-4" Casement | 1 | 0% | 1 | EA | 169.65 | 169.65 | 265.35 | 265.35 | 71.5 | 2.3727 | 435 | 435
137 |  | (2) UCA 2'-4"x 6'-0" Casement | 1 | 0% | 1 | EA | 169.65 | 169.65 | 265.35 | 265.35 | 71.5 | 2.3727 | 435 | 435
138 |  | (2) UCA 3'-0" x 4'-4" Casement | 1 | 0% | 1 | EA | 169.65 | 169.65 | 265.35 | 265.35 | 71.5 | 2.3727 | 435 | 435
139 |  | UCA 3'-0" x 6'-0" Casement | 1 | 0% | 1 | EA | 169.65 | 169.65 | 265.35 | 265.35 | 71.5 | 2.3727 | 435 | 435
140 |  | (3) UCA 3'-0" x 8'-4" Casement | 1 | 0% | 1 | EA | 169.65 | 169.65 | 265.35 | 265.35 | 71.5 | 2.3727 | 435 | 435
141 |  | (2) UCA 2'-8" x 4'-4" Casement | 1 | 0% | 1 | EA | 169.65 | 169.65 | 265.35 | 265.35 | 71.5 | 2.3727 | 435 | 435
142 |  | UCA 3'-0" x 3'-6" Casement | 1 | 0% | 1 | EA | 169.65 | 169.65 | 265.35 | 265.35 | 71.5 | 2.3727 | 435 | 435
143 |  | (2) 2'-8" x 5'-6" Casement | 3 | 0% | 3 | EA | 169.65 | 508.95 | 265.35 | 796.05 | 71.5 | 7.1182 | 435 | 1305
| DIV.09 | FINISHES | [12 empty] | 436140.3966
EXTERIOR FINISHES
144 |  | Brick @ Exterior Wall | 4319.85 | 10% | 4751.835 | SF | 8.736 | 41512.0306 | 13.664 | 64929.0734 | 71.5 | 580.5878 | 22.4 | 106441.104
145 |  | Precast Lintel Header | 150.52 | 10% | 165.572 | LF | 13.455 | 2227.7713 | 21.045 | 3484.4627 | 71.5 | 31.1576 | 34.5 | 5712.234
146 |  | 1x6 Trim Board | 71.64 | 10% | 78.804 | LF | 4.29 | 338.0692 | 6.71 | 528.7748 | 71.5 | 4.7282 | 11 | 866.844
147 |  | 2x3 Window Sill | 9.94 | 10% | 10.934 | LF | 4.29 | 46.9069 | 6.71 | 73.3671 | 71.5 | 0.65604 | 11 | 120.274
148 |  | MDO | 14.52 | 10% | 15.972 | SF | 1.365 | 21.8018 | 2.135 | 34.1002 | 71.5 | 0.30492 | 3.5 | 55.902
149 |  | Precast Limestone Sill | 98.51 | 10% | 108.361 | LF | 7.215 | 781.8246 | 11.285 | 1222.8539 | 71.5 | 10.9346 | 18.5 | 2004.6785
150 |  | Precast Limestone Cap | 20.16 | 10% | 22.176 | LF | 7.215 | 159.9998 | 11.285 | 250.2562 | 71.5 | 2.2378 | 18.5 | 410.256
151 |  | Cimney Shroud | 5 | 0% | 5 | EA | 70.2 | 351 | 109.8 | 549 | 71.5 | 4.9091 | 180 | 900
152 |  | Siding | 118.64 | 10% | 130.504 | SF | 2.652 | 346.0966 | 4.148 | 541.3306 | 71.5 | 4.8405 | 6.8 | 887.4272
153 |  | LimeStone Finish | 9.95 | 10% | 10.945 | SF | 2.028 | 22.1965 | 3.172 | 34.7175 | 71.5 | 0.31044 | 5.2 | 56.914
154 |  | Precast Stone | 12.4 | 10% | 13.64 | SF | 7.215 | 98.4126 | 11.285 | 153.9274 | 71.5 | 1.3764 | 18.5 | 252.34
155 |  | 2x6 Trim Board | 43.33 | 10% | 47.663 | LF | 4.719 | 224.9217 | 7.381 | 351.8006 | 71.5 | 3.1458 | 12.1 | 576.7223
156 |  | 2x4 Trim Board | 39.41 | 10% | 43.351 | LF | 3.705 | 160.6155 | 5.795 | 251.219 | 71.5 | 2.2464 | 9.5 | 411.8345
157 |  | Door/Window Trim | 205.95 | 10% | 226.545 | LF | 3.705 | 839.3492 | 5.795 | 1312.8283 | 71.5 | 11.7392 | 9.5 | 2152.1775
158 |  | 2'-4" x 0'-10" Louver | 4 | 0% | 4 | EA | 120.9 | 483.6 | 189.1 | 756.4 | 71.5 | 6.7636 | 310 | 1240
159 |  | Corbel # 2 ( AS Per Detail A2.5/9) | 22 | 0% | 4 | EA | 136.5 | 546 | 213.5 | 854 | 71.5 | 7.6364 | 350 | 1400
160 |  | Corbel # 2 ( As Per Detail A2.5/10 ) | 7 | 0% | 7 | EA | 148.2 | 1037.4 | 231.8 | 1622.6 | 71.5 | 14.5091 | 380 | 2660
CEILING FINISH
161 |  | 1/2" Gypsum Board @ Garage | 1895.35 | 10% | 2084.885 | SF | 1.209 | 2520.626 | 1.891 | 3942.5175 | 71.5 | 35.2535 | 3.1 | 6463.1435
162 |  | Tile Ceiling @ Shower | 66.57 | 10% | 73.227 | SF | 7.215 | 528.3328 | 11.285 | 826.3667 | 71.5 | 7.3893 | 18.5 | 1354.6995
163 |  | 5/8" Smooth Ceiling Gypsum Board | 9471.09 | 10% | 10418.199 | SF | 1.248 | 13001.9124 | 1.952 | 20336.3244 | 71.5 | 181.8449 | 3.2 | 33338.2368
164 |  | Wood Ceiling @ Patio | 1496.58 | 10% | 1646.238 | SF | 4.485 | 7383.3774 | 7.015 | 11548.3596 | 71.5 | 103.264 | 11.5 | 18931.737
165 |  | Paint @ Ceiling ( 2 coats Paint @ 1 coat Primer ) | 11366 | 10% | 12502.6 | SF | 0.975 | 12190.035 | 1.525 | 19066.465 | 71.5 | 170.49 | 2.5 | 31256.5
FLOOR FINISHES
166 |  | Epoxy Flooring | 2696.5 | 10% | 2966.15 | SF | 3.705 | 10989.5858 | 5.795 | 17188.8393 | 71.5 | 153.7005 | 9.5 | 28178.425
167 |  | Tile Flooring | 64.88 | 10% | 71.368 | SF | 4.485 | 320.0855 | 7.015 | 500.6465 | 71.5 | 4.4767 | 11.5 | 820.732
168 |  | Carpet Flooring | 1370.87 | 10% | 1507.957 | SF | 4.095 | 6175.0839 | 6.405 | 9658.4646 | 71.5 | 86.3648 | 10.5 | 15833.5485
169 |  | Cork Sealed | 1565.88 | 10% | 1722.468 | SF | 3.198 | 5508.4527 | 5.002 | 8615.7849 | 71.5 | 77.0413 | 8.2 | 14124.2376
170 |  | Bathroom Tile | 906.83 | 10% | 997.513 | SF | 5.265 | 5251.9059 | 8.235 | 8214.5196 | 71.5 | 73.4532 | 13.5 | 13466.4255
171 |  | Rubber Flooring | 303.07 | 10% | 333.377 | SF | 4.485 | 1495.1958 | 7.015 | 2338.6397 | 71.5 | 20.9118 | 11.5 | 3833.8355
172 |  | LVT Flooring | 138.5 | 10% | 152.35 | SF | 4.836 | 736.7646 | 7.564 | 1152.3754 | 71.5 | 10.3044 | 12.4 | 1889.14
173 |  | Wood Flooring | 3396.13 | 10% | 3735.743 | SF | 4.563 | 17046.1953 | 7.137 | 26661.9978 | 71.5 | 238.4083 | 11.7 | 43708.1931
174 |  | Brick Flooring @ Front Porch | 835.11 | 10% | 918.621 | SF | 5.655 | 5194.8018 | 8.845 | 8125.2027 | 71.5 | 72.6546 | 14.5 | 13320.0045
175 |  | Tile Foolring @ Mudroom | 190.47 | 10% | 209.517 | SF | 4.836 | 1013.2242 | 7.564 | 1584.7866 | 71.5 | 14.171 | 12.4 | 2598.0108
176 |  | Sealed Concrete | 452.41 | 10% | 497.651 | SF | 3.198 | 1591.4879 | 5.002 | 2489.2503 | 71.5 | 22.2586 | 8.2 | 4080.7382
177 |  | Vinyl Carpet Tiles | 72.82 | 10% | 80.102 | SF | 5.46 | 437.3569 | 8.54 | 684.0711 | 71.5 | 6.1169 | 14 | 1121.428
WALL FINISHES
WALL PAINT
178 |  | Paint @ Wall ( 2 coats paint & 1 coat Primer ) | 16443 | 10% | 18087.3 | SF | 0.975 | 17635.1175 | 1.525 | 27583.1325 | 71.5 | 246.645 | 2.5 | 45218.25
WALL BASE
179 |  | 4" Wall Base | 1339 | 10% | 1472.9 | LF | 1.872 | 2757.2688 | 2.928 | 4312.6512 | 71.5 | 38.5632 | 4.8 | 7069.92
180 |  | 1x6 Base | 488 | 10% | 536.8 | LF | 2.418 | 1297.9824 | 3.782 | 2030.1776 | 71.5 | 18.1536 | 6.2 | 3328.16
WALL TILES
181 |  | Tiles @ Bathroom Walls ( 3'-7" High ) | 1032.4 | 10% | 1135.64 | SF | 6.435 | 7307.8434 | 10.065 | 11430.2166 | 71.5 | 102.2076 | 16.5 | 18738.06
KITCHEN TIELS @ WALL
182 |  | 5" Back Splash Tile | 6.18 | 10% | 6.798 | LF | 13.65 | 92.7927 | 21.35 | 145.1373 | 71.5 | 1.2978 | 35 | 237.93
183 |  | 6" Back Splash Tiles | 14.13 | 10% | 15.543 | LF | 13.65 | 212.162 | 21.35 | 331.8431 | 71.5 | 2.9673 | 35 | 544.005
FINISH BOARD
184 |  | Bead Board | 15.75 | 10% | 17.325 | SF | 1.365 | 23.6486 | 2.135 | 36.9889 | 71.5 | 0.33075 | 3.5 | 60.6375
185 |  | Plywood Finish @ Wall | 127.19 | 10% | 139.909 | SF | 1.326 | 185.5193 | 2.074 | 290.1713 | 71.5 | 2.5947 | 3.4 | 475.6906
| DIV.10 | SPECIALITIES | [12 empty] | 33120
RESTROOM ACCESSORIES
186 |  | 42" Grab Bar | 8 | 0% | 8 | EA | 42.9 | 343.2 | 67.1 | 536.8 | 71.5 | 4.8 | 110 | 880
187 |  | 36" Grab Bar | 8 | 0% | 8 | EA | 42.9 | 343.2 | 67.1 | 536.8 | 71.5 | 4.8 | 110 | 880
188 |  | Mirrors | 8 | 0% | 8 | EA | 136.5 | 1092 | 213.5 | 1708 | 71.5 | 15.2727 | 350 | 2800
189 |  | Toilet Paper Holders | 8 | 0% | 8 | EA | 54.6 | 436.8 | 85.4 | 683.2 | 71.5 | 6.1091 | 140 | 1120
190 |  | Hand Wash Despensor | 8 | 0% | 8 | EA | 70.2 | 561.6 | 109.8 | 878.4 | 71.5 | 7.8545 | 180 | 1440
191 |  | Caot Hook | 8 | 0% | 8 | EA | 37.05 | 296.4 | 57.95 | 463.6 | 71.5 | 4.1455 | 95 | 760
192 |  | 2'-0 x 3'-0" Mirror | 1 | 0% | 1 | EA | 120.9 | 120.9 | 189.1 | 189.1 | 71.5 | 1.6909 | 310 | 310
STAIRS
193 |  | 11" Tread x 6" Riser wood Stairs w/ Landaing @ (3) 2x12 Stringers | 52 | 0% | 52 | RISERS | 122.85 | 6388.2 | 192.15 | 9991.8 | 71.5 | 89.3455 | 315 | 16380
194 |  | Pre-Fab Mental FirePlace @ Hearth Room ( Details @ 2/A3.4) , Master Porch ( Details @ A2.5/2) , Covered Patio ( Details @ 6/A2.5) | 3 | 0% | 3 | EA | 1111.5 | 3334.5 | 1738.5 | 5215.5 | 71.5 | 46.6364 | 2850 | 8550
| DIV. 11 | EQUIPMENTS | [12 empty] | 4560
EQUIPMENTS
195 |  | Furnance | 3 | 0% | 3 | EA |  |  | 200 | 600 | 71.5 | 0 | 200 | 600
196 |  | Microwave | 2 | 0% | 2 | EA |  |  | 180 | 360 | 71.5 | 0 | 180 | 360
197 |  | Trash Bin | 2 | 0% | 2 | EA |  |  | 180 | 360 | 71.5 | 0 | 180 | 360
198 |  | Stove | 2 | 0% | 2 | EA |  |  | 250 | 500 | 71.5 | 0 | 250 | 500
199 |  | Refrigerator | 1 | 0% | 1 | EA |  |  | 180 | 180 | 71.5 | 0 | 180 | 180
200 |  | 36" Refrigerator | 2 | 0% | 2 | EA |  |  | 210 | 420 | 71.5 | 0 | 210 | 420
201 |  | Oven/Microve | 1 | 0% | 1 | EA |  |  | 210 | 210 | 71.5 | 0 | 210 | 210
202 |  | Dishwasher | 2 | 0% | 2 | EA |  |  | 300 | 600 | 71.5 | 0 | 300 | 600
203 |  | 36" Freezer | 1 | 0% | 1 | EA |  |  | 350 | 350 | 71.5 | 0 | 350 | 350
204 |  | Washer | 2 | 0% | 2 | EA |  |  | 200 | 400 | 71.5 | 0 | 200 | 400
205 |  | Dryer | 2 | 0% | 2 | EA |  |  | 200 | 400 | 71.5 | 0 | 200 | 400
206 |  | Bottle Filler | 1 | 0% | 1 | EA |  |  | 180 | 180 | 71.5 | 0 | 180 | 180
| DIV.12 | FURNISHES | [12 empty] | 126029.0878
SHELVING
207 |  | 3 Compartment Shelving (4'-0"' High ) | 9.67 | 10% | 10.637 | LF | 42.9 | 456.3273 | 67.1 | 713.7427 | 71.5 | 6.3822 | 110 | 1170.07
208 |  | 2 Compartment Shelving ( 1'-4" High ) | 8.41 | 10% | 9.251 | LF | 42.9 | 396.8679 | 67.1 | 620.7421 | 71.5 | 5.5506 | 110 | 1017.61
209 |  | 3-Compartment Shelving ( 5'-6" High ) | 6.61 | 10% | 7.271 | LF | 42.9 | 311.9259 | 67.1 | 487.8841 | 71.5 | 4.3626 | 110 | 799.81
210 |  | 4- Compartment Shelving ( 5'-8" High ) | 9.31 | 10% | 10.241 | LF | 42.9 | 439.3389 | 67.1 | 687.1711 | 71.5 | 6.1446 | 110 | 1126.51
211 |  | 4 Compartment Shelving ( 5'-4" High ) | 11.49 | 10% | 12.639 | LF | 42.9 | 542.2131 | 67.1 | 848.0769 | 71.5 | 7.5834 | 110 | 1390.29
212 |  | 4-Compartment Shelving ( 20" Deep v 4'-0" High ) | 10.11 | 10% | 11.121 | LF | 42.9 | 477.0909 | 67.1 | 746.2191 | 71.5 | 6.6726 | 110 | 1223.31
213 |  | Fixed Rod & Shelf 1-1/2" T. Shelf | 9.73 | 10% | 10.703 | LF | 42.9 | 459.1587 | 67.1 | 718.1713 | 71.5 | 6.4218 | 110 | 1177.33
214 |  | 3'-10"' High Shelving | 2.44 | 10% | 2.684 | LF | 42.9 | 115.1436 | 67.1 | 180.0964 | 71.5 | 1.6104 | 110 | 295.24
215 |  | 8'-9" High 2 Compartment Shelving | 4.93 | 10% | 5.423 | LF | 42.9 | 232.6467 | 67.1 | 363.8833 | 71.5 | 3.2538 | 110 | 596.53
216 |  | 6-Compartment Shelving ( 8'-9" High ) | 2.43 | 10% | 2.673 | LF | 42.9 | 114.6717 | 67.1 | 179.3583 | 71.5 | 1.6038 | 110 | 294.03
217 |  | 2-Compartment Shelving ( 3-6" High ) | 2.44 | 10% | 2.684 | LF | 42.9 | 115.1436 | 67.1 | 180.0964 | 71.5 | 1.6104 | 110 | 295.24
218 |  | 3-Compartment Shelving ( 2''-6" High ) | 3.52 | 10% | 3.872 | LF | 42.9 | 166.1088 | 67.1 | 259.8112 | 71.5 | 2.3232 | 110 | 425.92
219 |  | 4-Compartments Shelving ( 8'-9" High ) | 5.74 | 10% | 6.314 | LF | 42.9 | 270.8706 | 67.1 | 423.6694 | 71.5 | 3.7884 | 110 | 694.54
CABINETS & DRAWERS
220 |  | 1'-8" x 2'-0" Cabinet @ Mudroom | 4 | 0% | 4 | EA | 120.9 | 483.6 | 189.1 | 756.4 | 71.5 | 6.7636 | 310 | 1240
221 |  | 3'-2" x 2'-6" R.O Cabinet | 4 | 0% | 4 | EA | 120.9 | 483.6 | 189.1 | 756.4 | 71.5 | 6.7636 | 310 | 1240
222 |  | 2'-0" x 2'-0" Cabinet | 2 | 0% | 2 | EA | 120.9 | 241.8 | 189.1 | 378.2 | 71.5 | 3.3818 | 310 | 620
223 |  | 1'-6" x 2'-0" Cabinet | 6 | 0% | 6 | EA | 120.9 | 725.4 | 189.1 | 1134.6 | 71.5 | 10.1455 | 310 | 1860
224 |  | 2'-6" x 1'-8" R.O. Cabinet | 2 | 0% | 2 | EA | 120.9 | 241.8 | 189.1 | 378.2 | 71.5 | 3.3818 | 310 | 620
225 |  | 1'-3" x 1'-0" Files Cabinet | 2 | 0% | 2 | EA | 120.9 | 241.8 | 189.1 | 378.2 | 71.5 | 3.3818 | 310 | 620
226 |  | 8-1/2" x 1'-3" Drawer | 3 | 0% | 3 | EA | 120.9 | 362.7 | 189.1 | 567.3 | 71.5 | 5.0727 | 310 | 930
227 |  | 1'-2" x 1'-0" Cabinet | 2 | 0% | 2 | EA | 120.9 | 241.8 | 189.1 | 378.2 | 71.5 | 3.3818 | 310 | 620
228 |  | 1'-8" x 1'-10" Cainet | 1 | 0% | 1 | EA | 120.9 | 120.9 | 189.1 | 189.1 | 71.5 | 1.6909 | 310 | 310
229 |  | 6-1/2" x 1'-6" Drawer | 13 | 0% | 13 | EA | 120.9 | 1571.7 | 189.1 | 2458.3 | 71.5 | 21.9818 | 310 | 4030
230 |  | 11-7/8" 1'-6" Drawer | 4 | 0% | 4 | EA | 120.9 | 483.6 | 189.1 | 756.4 | 71.5 | 6.7636 | 310 | 1240
231 |  | 7'-0" x 2'-0" Drawer | 4 | 0% | 4 | EA | 120.9 | 483.6 | 189.1 | 756.4 | 71.5 | 6.7636 | 310 | 1240
232 |  | 8'-0" x 2'-0" Drawer | 8 | 0% | 8 | EA | 120.9 | 967.2 | 189.1 | 1512.8 | 71.5 | 13.5273 | 310 | 2480
233 |  | 1'-4" x 1'-4" Cabinet | 4 | 0% | 4 | EA | 120.9 | 483.6 | 189.1 | 756.4 | 71.5 | 6.7636 | 310 | 1240
234 |  | 1'-3" x 2'-6" Cabinet | 4 | 0% | 4 | EA | 120.9 | 483.6 | 189.1 | 756.4 | 71.5 | 6.7636 | 310 | 1240
235 |  | 5-3/4" x 1'-8-5/8" R.O. Cabinet | 5 | 0% | 5 | EA | 120.9 | 604.5 | 189.1 | 945.5 | 71.5 | 8.4545 | 310 | 1550
236 |  | 1'-8" x 1'-8" R.O. cabinet | 2 | 0% | 2 | EA | 120.9 | 241.8 | 189.1 | 378.2 | 71.5 | 3.3818 | 310 | 620
237 |  | 1'-8" x 2'-0" R.O. Cabinet | 4 | 0% | 4 | EA | 120.9 | 483.6 | 189.1 | 756.4 | 71.5 | 6.7636 | 310 | 1240
238 |  | 1'-3" x 3'-0" Cabinet | 4 | 0% | 4 | EA | 120.9 | 483.6 | 189.1 | 756.4 | 71.5 | 6.7636 | 310 | 1240
239 |  | 9-1/4" x 2'-0" Drawer | 1 | 0% | 1 | EA | 120.9 | 120.9 | 189.1 | 189.1 | 71.5 | 1.6909 | 310 | 310
240 |  | 2'-0" x 2'-6" Cabinet | 1 | 0% | 1 | EA | 120.9 | 120.9 | 189.1 | 189.1 | 71.5 | 1.6909 | 310 | 310
241 |  | 2'-6" x 1'-4-1/2" R.O. Cabinet | 2 | 0% | 2 | EA | 120.9 | 241.8 | 189.1 | 378.2 | 71.5 | 3.3818 | 310 | 620
242 |  | 6-1/2" x 1'-3" Drawer | 12 | 0% | 12 | EA | 120.9 | 1450.8 | 189.1 | 2269.2 | 71.5 | 20.2909 | 310 | 3720
243 |  | 1'-9" x 1'-3" R.O. Cabinet | 12 | 0% | 12 | EA | 120.9 | 1450.8 | 189.1 | 2269.2 | 71.5 | 20.2909 | 310 | 3720
244 |  | 6-1/2" x 2'-9" Drawer | 1 | 0% | 1 | EA | 120.9 | 120.9 | 189.1 | 189.1 | 71.5 | 1.6909 | 310 | 310
245 |  | 2'-0" x 1'-3" Cabinet | 2 | 0% | 2 | EA | 120.9 | 241.8 | 189.1 | 378.2 | 71.5 | 3.3818 | 310 | 620
246 |  | 6-1/2" 1'-3" Drawer | 1 | 0% | 1 | EA | 120.9 | 120.9 | 189.1 | 189.1 | 71.5 | 1.6909 | 310 | 310
247 |  | 11-1/4" x 1'-3" Drawer | 2 | 0% | 2 | EA | 120.9 | 241.8 | 189.1 | 378.2 | 71.5 | 3.3818 | 310 | 620
248 |  | 1'-6" x 1'-9" Cabinet | 6 | 0% | 6 | EA | 120.9 | 725.4 | 189.1 | 1134.6 | 71.5 | 10.1455 | 310 | 1860
249 |  | 2'-1' x 1'-10" cabinet | 2 | 0% | 2 | EA | 120.9 | 241.8 | 189.1 | 378.2 | 71.5 | 3.3818 | 310 | 620
250 |  | 13" x 2'-1" Drawer | 2 | 0% | 2 | EA | 120.9 | 241.8 | 189.1 | 378.2 | 71.5 | 3.3818 | 310 | 620
251 |  | 1'-1' x 1'-8" File Cabinet | 2 | 0% | 2 | EA | 120.9 | 241.8 | 189.1 | 378.2 | 71.5 | 3.3818 | 310 | 620
252 |  | 1'-8" x 1'-8" Drawer | 1 | 0% | 1 | EA | 120.9 | 120.9 | 189.1 | 189.1 | 71.5 | 1.6909 | 310 | 310
253 |  | 2'-1" x 1'-0" R.O. Cabinet | 2 | 0% | 2 | EA | 120.9 | 241.8 | 189.1 | 378.2 | 71.5 | 3.3818 | 310 | 620
254 |  | 2'-6" x 1'-9" Cabinet | 2 | 0% | 2 | EA | 120.9 | 241.8 | 189.1 | 378.2 | 71.5 | 3.3818 | 310 | 620
255 |  | 6" x 1'-10" Drawer | 14 | 0% | 14 | EA | 120.9 | 1692.6 | 189.1 | 2647.4 | 71.5 | 23.6727 | 310 | 4340
256 |  | 3'-1" x 1'-9" Drying Closet | 2 | 0% | 2 | EA | 120.9 | 241.8 | 189.1 | 378.2 | 71.5 | 3.3818 | 310 | 620
257 |  | 2'-5" x 1'-9" Drying Closet | 2 | 0% | 2 | EA | 120.9 | 241.8 | 189.1 | 378.2 | 71.5 | 3.3818 | 310 | 620
258 |  | 7'-1/4" x 2'-5" Drawer | 25 | 0% | 25 | EA | 120.9 | 3022.5 | 189.1 | 4727.5 | 71.5 | 42.2727 | 310 | 7750
259 |  | 3'-7" xx 2''-5" Cabinet | 4 | 0% | 4 | EA | 120.9 | 483.6 | 189.1 | 756.4 | 71.5 | 6.7636 | 310 | 1240
260 |  | 1'-6" x 2'-5" Cabinet | 7 | 0% | 7 | EA | 120.9 | 846.3 | 189.1 | 1323.7 | 71.5 | 11.8364 | 310 | 2170
261 |  | 2'-0" x 7'-0" Cabinet w/ ADJ shelving | 2 | 0% | 2 | EA | 120.9 | 241.8 | 189.1 | 378.2 | 71.5 | 3.3818 | 310 | 620
262 |  | 7-1/2" x 3'-9" Drawer | 4 | 0% | 4 | EA | 120.9 | 483.6 | 189.1 | 756.4 | 71.5 | 6.7636 | 310 | 1240
263 |  | 3" High x 23'-6" Locked Drawer | 1 | 0% | 1 | EA | 120.9 | 120.9 | 189.1 | 189.1 | 71.5 | 1.6909 | 310 | 310
264 |  | 8" High x 1'-9" Drawer | 3 | 0% | 3 | EA | 120.9 | 362.7 | 189.1 | 567.3 | 71.5 | 5.0727 | 310 | 930
265 |  | 6-1/2" High x 1'-9" Drawer | 1 | 0% | 1 | EA | 120.9 | 120.9 | 189.1 | 189.1 | 71.5 | 1.6909 | 310 | 310
266 |  | 1'-3" x 2'-0" Ref. Drawer | 2 | 0% | 2 | EA | 120.9 | 241.8 | 189.1 | 378.2 | 71.5 | 3.3818 | 310 | 620
267 |  | 6" High x 1'-8-1/2" Drawer | 16 | 0% | 16 | EA | 120.9 | 1934.4 | 189.1 | 3025.6 | 71.5 | 27.0545 | 310 | 4960
268 |  | 10-1/4" High x 1'-8-1/2" Drawer | 2 | 0% | 2 | EA | 120.9 | 241.8 | 189.1 | 378.2 | 71.5 | 3.3818 | 310 | 620
269 |  | 8" High x 1'-3-1/2" Drawer | 4 | 0% | 4 | EA | 120.9 | 483.6 | 189.1 | 756.4 | 71.5 | 6.7636 | 310 | 1240
270 |  | 0'-11" x 1'-0" cabinet | 2 | 0% | 2 | EA | 120.9 | 241.8 | 189.1 | 378.2 | 71.5 | 3.3818 | 310 | 620
271 |  | 8" High x 1'-7"' cabinet | 3 | 0% | 3 | EA | 120.9 | 362.7 | 189.1 | 567.3 | 71.5 | 5.0727 | 310 | 930
272 |  | 2'-0" x 1'-6" Cabinet | 4 | 0% | 4 | EA | 120.9 | 483.6 | 189.1 | 756.4 | 71.5 | 6.7636 | 310 | 1240
273 |  | 13' High x 2'-6" Drawer | 1 | 0% | 1 | EA | 120.9 | 120.9 | 189.1 | 189.1 | 71.5 | 1.6909 | 310 | 310
274 |  | 2'-0"' x 1'-10" Cabinet | 2 | 0% | 2 | EA | 120.9 | 241.8 | 189.1 | 378.2 | 71.5 | 3.3818 | 310 | 620
275 |  | 2'-10" x 1'-10" Cabinet | 2 | 0% | 2 | EA | 120.9 | 241.8 | 189.1 | 378.2 | 71.5 | 3.3818 | 310 | 620
276 |  | 1'-6" x 3'-0" cabinet | 1 | 0% | 1 | EA | 120.9 | 120.9 | 189.1 | 189.1 | 71.5 | 1.6909 | 310 | 310
277 |  | 1'-6" x 2'-0" cabinet | 2 | 0% | 2 | EA | 120.9 | 241.8 | 189.1 | 378.2 | 71.5 | 3.3818 | 310 | 620
278 |  | 1''-0" x 1'-5" Cabinet | 2 | 0% | 2 | EA | 120.9 | 241.8 | 189.1 | 378.2 | 71.5 | 3.3818 | 310 | 620
279 |  | 6" High x 2'-0" Drawer | 10 | 0% | 10 | EA | 120.9 | 1209 | 189.1 | 1891 | 71.5 | 16.9091 | 310 | 3100
280 |  | 1'-8" x 1'-0" Cabinet | 2 | 0% | 2 | EA | 120.9 | 241.8 | 189.1 | 378.2 | 71.5 | 3.3818 | 310 | 620
281 |  | 2'-0" x 1'-4" cabinet | 10 | 0% | 10 | EA | 120.9 | 1209 | 189.1 | 1891 | 71.5 | 16.9091 | 310 | 3100
282 |  | 2'-7" x 1'-5" Cabinet | 3 | 0% | 3 | EA | 120.9 | 362.7 | 189.1 | 567.3 | 71.5 | 5.0727 | 310 | 930
283 |  | 4" x 3'-0" Drawer | 2 | 0% | 2 | EA | 120.9 | 241.8 | 189.1 | 378.2 | 71.5 | 3.3818 | 310 | 620
WALL TRIMS
284 |  | Trim 1 (1X3 Trim) | 336.04 | 10% | 369.644 | LF | 3.198 | 1182.1215 | 5.002 | 1848.9593 | 71.5 | 16.5332 | 8.2 | 3031.0808
285 |  | Trim 2 ( 1x2 ) | 150.9 | 10% | 165.99 | LF | 3.198 | 530.836 | 5.002 | 830.282 | 71.5 | 7.4243 | 8.2 | 1361.118
286 |  | 1x8 Trim | 47.44 | 10% | 52.184 | LF | 3.588 | 187.2362 | 5.612 | 292.8566 | 71.5 | 2.6187 | 9.2 | 480.0928
287 |  | 2x8 Trim | 12.24 | 10% | 13.464 | LF | 4.485 | 60.386 | 7.015 | 94.45 | 71.5 | 0.84456 | 11.5 | 154.836
CORNICE & CROWNS ( Details @ Sheet A3.1)
288 |  | Cornice 1 | 20.07 | 10% | 22.077 | LF | 5.265 | 116.2354 | 8.235 | 181.8041 | 71.5 | 1.6257 | 13.5 | 298.0395
289 |  | Crown 1 | 116.73 | 10% | 128.403 | LF | 5.265 | 676.0418 | 8.235 | 1057.3987 | 71.5 | 9.4551 | 13.5 | 1733.4405
290 |  | Crown 5 | 24 | 10% | 26.4 | LF | 5.265 | 138.996 | 8.235 | 217.404 | 71.5 | 1.944 | 13.5 | 356.4
291 |  | Crown 2 | 71.81 | 10% | 78.991 | LF | 5.265 | 415.8876 | 8.235 | 650.4909 | 71.5 | 5.8166 | 13.5 | 1066.3785
292 |  | Cornice 3 | 135.7 | 10% | 149.27 | LF | 5.265 | 785.9066 | 8.235 | 1229.2385 | 71.5 | 10.9917 | 13.5 | 2015.145
293 |  | Cornice 4 | 12.57 | 10% | 13.827 | LF | 5.265 | 72.7992 | 8.235 | 113.8653 | 71.5 | 1.0182 | 13.5 | 186.6645
294 |  | Crown 4 | 22.43 | 10% | 24.673 | LF | 5.265 | 129.9033 | 8.235 | 203.1822 | 71.5 | 1.8168 | 13.5 | 333.0855
295 |  | Cornice 7 | 9.03 | 10% | 9.933 | LF | 5.265 | 52.2972 | 8.235 | 81.7983 | 71.5 | 0.73143 | 13.5 | 134.0955
296 |  | Crown 3 | 47.67 | 10% | 52.437 | LF | 5.265 | 276.0808 | 8.235 | 431.8187 | 71.5 | 3.8613 | 13.5 | 707.8995
297 |  | Crown 6 | 166.31 | 10% | 182.941 | LF | 5.265 | 963.1844 | 8.235 | 1506.5191 | 71.5 | 13.4711 | 13.5 | 2469.7035
298 |  | Cornice 5 | 30.95 | 10% | 34.045 | LF | 5.265 | 179.2469 | 8.235 | 280.3606 | 71.5 | 2.507 | 13.5 | 459.6075
299 |  | Cornice 6 | 13.91 | 10% | 15.301 | LF | 5.265 | 80.5598 | 8.235 | 126.0037 | 71.5 | 1.1267 | 13.5 | 206.5635
300 |  | Crown 7 | 53.4 | 10% | 58.74 | LF | 5.265 | 309.2661 | 8.235 | 483.7239 | 71.5 | 4.3254 | 13.5 | 792.99
COUNTERTOP & STONE SLABS
301 |  | 6CM Stone Slab @ Kitchne Island | 40.06 | 10% | 44.066 | SF | 1.638 | 72.1801 | 2.562 | 112.8971 | 71.5 | 1.0095 | 4.2 | 185.0772
302 |  | 3CM Stone Slab @ Bar | 22 | 10% | 24.2 | SF | 1.638 | 39.6396 | 2.562 | 62.0004 | 71.5 | 0.5544 | 4.2 | 101.64
COUNTERTOP
303 |  | Quartz Countertop | 174 | 10% | 191.4 | SF | 35.88 | 6867.432 | 56.12 | 10741.368 | 71.5 | 96.048 | 92 | 17608.8
| DIV.22 | PLUMBING | [12 empty] | 44510
PLUMBING FIXTURES
304 |  | Water Closet | 8 | 0% | 8 | EA | 315.9 | 2527.2 | 494.1 | 3952.8 | 71.5 | 35.3455 | 810 | 6480
305 |  | Lavatroies | 11 | 0% | 11 | EA | 323.7 | 3560.7 | 506.3 | 5569.3 | 71.5 | 49.8 | 830 | 9130
306 |  | Kitchen sink | 2 | 0% | 2 | EA | 253.5 | 507 | 396.5 | 793 | 71.5 | 7.0909 | 650 | 1300
307 |  | Laundary Sink | 2 | 0% | 2 | EA | 214.5 | 429 | 335.5 | 671 | 71.5 | 6 | 550 | 1100
308 |  | Pentry Sink | 1 | 0% | 1 | EA | 175.5 | 175.5 | 274.5 | 274.5 | 71.5 | 2.4545 | 450 | 450
309 |  | 2'-0" x 5'-0" Bathtub | 1 | 0% | 1 | EA | 370.5 | 370.5 | 579.5 | 579.5 | 71.5 | 5.1818 | 950 | 950
310 |  | 5'-7" x 4'-3" Shower | 1 | 0% | 1 | EA | 546 | 546 | 854 | 854 | 71.5 | 7.6364 | 1400 | 1400
311 |  | 3'-0" x 5'-0" Shower | 2 | 0% | 2 | EA | 526.5 | 1053 | 823.5 | 1647 | 71.5 | 14.7273 | 1350 | 2700
312 |  | Allowances for Sanitary/ Vent Pipes | 1 | 0% | 1 | LS | 3705 | 3705 | 5795 | 5795 | 71.5 | 51.8182 | 9500 | 9500
313 |  | Allowances for Domestic Water/ Gas Pipes | 1 | 0% | 1 | LS | 4485 | 4485 | 7015 | 7015 | 71.5 | 62.7273 | 11500 | 11500
| DIV.23 | MECHANICAL | [12 empty] | 221000
314 |  | Allowances for Duct Work | 1 | 0% | 1 | LS | 8190 | 8190 | 12810 | 12810 | 71.5 | 114.5455 | 21000 | 21000
315 |  | Allowances for Mechanical Fixtures | 1 | 0% | 1 | LS | 78000 | 78000 | 122000 | 122000 | 71.5 | 1090.9091 | 200000 | 200000
| DIV. 26 | ELECTRICAL | [12 empty] | 189590
LIGHTING FIXTURES
316 |  | G : Closet /Garage Light Fixture , EZPAN-1X4-30-Y/D1 , Manufacturer : RAB | 50 | 0% | 50 | EA | 81.9 | 4095 | 128.1 | 6405 | 71.5 | 57.2727 | 210 | 10500
317 |  | A : 5" Downlight , Manufacturer JUNO 1C20-205W-WH | 199 | 0% | 199 | EA | 81.9 | 16298.1 | 128.1 | 25491.9 | 71.5 | 227.9455 | 210 | 41790
318 |  | B : 5" Wall Wash , Maufacturer JUNO IC20-209N-WH | 49 | 0% | 49 | EA | 87.75 | 4299.75 | 137.25 | 6725.25 | 71.5 | 60.1364 | 225 | 11025
319 |  | F : Step Lights , Manufacturer : American Lights , SGL4-120-30-VS | 17 | 0% | 17 | EA | 120.9 | 2055.3 | 189.1 | 3214.7 | 71.5 | 28.7455 | 310 | 5270
320 |  | W : DEC Ceiling Fixture ( By Owner ) | 1 | 0% | 1 | EA | 122.85 | 122.85 | 192.15 | 192.15 | 71.5 | 1.7182 | 315 | 315
321 |  | S :DEC Sconce Fixture ( By Owner ) | 2 | 0% | 2 | EA | 128.7 | 257.4 | 201.3 | 402.6 | 71.5 | 3.6 | 330 | 660
322 |  | C :UNDER CAB & AMBIENT LIGHTING , Manuf. DIODE LED , DI-12V-BLX3-30 | 36 | 0% | 36 | EA | 74.1 | 2667.6 | 115.9 | 4172.4 | 71.5 | 37.3091 | 190 | 6840
323 |  | X : DEC Ceiling Fixture | 1 | 0% | 1 | EA | 136.5 | 136.5 | 213.5 | 213.5 | 71.5 | 1.9091 | 350 | 350
324 |  | AE :WAC LIGHTING WS-224-35-WT ( Closet Light Fixture ) | 2 | 0% | 2 | EA | 122.85 | 245.7 | 192.15 | 384.3 | 71.5 | 3.4364 | 315 | 630
325 |  | AD : STAIRWELL BY OWNER ( DEC Sconce) | 4 | 0% | 4 | EA | 128.7 | 514.8 | 201.3 | 805.2 | 71.5 | 7.2 | 330 | 1320
326 |  | Switches | 154 | 0% | 154 | EA | 37.05 | 5705.7 | 57.95 | 8924.3 | 71.5 | 79.8 | 95 | 14630
327 |  | D :RECESSED LIGHT EXHAUST FAN COMBO , Manuf. NUTONE 744NT | 10 | 0% | 10 | EA | 113.1 | 1131 | 176.9 | 1769 | 71.5 | 15.8182 | 290 | 2900
328 |  | E : Closet Light , Manuf. RAB EZPAN-2X2-17-Y/D1 | 7 | 0% | 7 | EA | 99.45 | 696.15 | 155.55 | 1088.85 | 71.5 | 9.7364 | 255 | 1785
329 |  | R :Exterior Light Fixture ( DEC Sconce ) | 4 | 0% | 4 | EA | 99.45 | 397.8 | 155.55 | 622.2 | 71.5 | 5.5636 | 255 | 1020
330 |  | M : Office Light Fixture ( DEC Sconce ) | 4 | 0% | 4 | EA | 99.45 | 397.8 | 155.55 | 622.2 | 71.5 | 5.5636 | 255 | 1020
331 |  | Q :Exterior Light Fixture ( DEC Sconce ) | 4 | 0% | 4 | EA | 99.45 | 397.8 | 155.55 | 622.2 | 71.5 | 5.5636 | 255 | 1020
332 |  | k :Master Bath Light Fixture ( DEC Sconce ) | 15 | 0% | 15 | EA | 99.45 | 1491.75 | 155.55 | 2333.25 | 71.5 | 20.8636 | 255 | 3825
333 |  | AH : MST BEDSIDE LIGHTS ( DEC Sconce ) | 2 | 0% | 2 | EA | 99.45 | 198.9 | 155.55 | 311.1 | 71.5 | 2.7818 | 255 | 510
334 |  | J : POWDER ROOM Light Fixture ( DEC Sconce ) | 2 | 0% | 2 | EA | 99.45 | 198.9 | 155.55 | 311.1 | 71.5 | 2.7818 | 255 | 510
335 |  | I : Dinig Room Light Fixture ( DEC Sconce ) | 1 | 0% | 1 | EA | 99.45 | 99.45 | 155.55 | 155.55 | 71.5 | 1.3909 | 255 | 255
336 |  | AN :DINING BUFFETT LIGHT FIXTURE ( DEC Sconce ) | 4 | 0% | 4 | EA | 99.45 | 397.8 | 155.55 | 622.2 | 71.5 | 5.5636 | 255 | 1020
337 |  | N : FAMILY POWDER LIGHT FIXTURE ( DEC Sconce ) | 1 | 0% | 1 | EA | 99.45 | 99.45 | 155.55 | 155.55 | 71.5 | 1.3909 | 255 | 255
338 |  | H :HER OFFICE LIGHT FIXTURE ( DEC Sconce ) | 3 | 0% | 3 | EA | 99.45 | 298.35 | 155.55 | 466.65 | 71.5 | 4.1727 | 255 | 765
339 |  | AB : KITCHEN ISLAND ( DEC Pandent ) | 2 | 0% | 2 | EA | 99.45 | 198.9 | 155.55 | 311.1 | 71.5 | 2.7818 | 255 | 510
340 |  | AL : KITCHEN LIGHT ( DEC Pandent ) | 1 | 0% | 1 | EA | 99.45 | 99.45 | 155.55 | 155.55 | 71.5 | 1.3909 | 255 | 255
341 |  | AM : KITCHEN SINK LIGHT ( DEC Pandent ) | 2 | 0% | 2 | EA | 99.45 | 198.9 | 155.55 | 311.1 | 71.5 | 2.7818 | 255 | 510
342 |  | Y :FOYER LIGHT , DEC CHANDELIER | 2 | 0% | 2 | EA | 99.45 | 198.9 | 155.55 | 311.1 | 71.5 | 2.7818 | 255 | 510
343 |  | AA :STAIRWELL CENTER LIGHT DEC CHANDELIER | 1 | 0% | 1 | EA | 99.45 | 99.45 | 155.55 | 155.55 | 71.5 | 1.3909 | 255 | 255
344 |  | O :MST. BEDROOM ( DEC Light Fixture ) | 1 | 0% | 1 | EA | 99.45 | 99.45 | 155.55 | 155.55 | 71.5 | 1.3909 | 255 | 255
345 |  | P : MST. PATIO ( DEC Light Fixture ) | 1 | 0% | 1 | EA | 99.45 | 99.45 | 155.55 | 155.55 | 71.5 | 1.3909 | 255 | 255
346 |  | AC :HEARTH GAME LIGHT ( DEC Pandent ) | 1 | 0% | 1 | EA | 99.45 | 99.45 | 155.55 | 155.55 | 71.5 | 1.3909 | 255 | 255
347 |  | V :BATH #2 VANITY ( DEC Sconce) | 4 | 0% | 4 | EA | 99.45 | 397.8 | 155.55 | 622.2 | 71.5 | 5.5636 | 255 | 1020
348 |  | U :BATH #1 VANITY ( DEC Sconce) | 4 | 0% | 4 | EA | 99.45 | 397.8 | 155.55 | 622.2 | 71.5 | 5.5636 | 255 | 1020
349 |  | AJ : INFRATECH WD-5024 PATIO HEATERS | 4 | 0% | 4 | EA | 99.45 | 397.8 | 155.55 | 622.2 | 71.5 | 5.5636 | 255 | 1020
POWER FIXTURES
350 |  | Duplex Receptacle | 299 | 0% | 299 | EA | 42.9 | 12827.1 | 67.1 | 20062.9 | 71.5 | 179.4 | 110 | 32890
351 |  | Data/Phone /Ethernet Outlet | 17 | 0% | 17 | EA | 54.6 | 928.2 | 85.4 | 1451.8 | 71.5 | 12.9818 | 140 | 2380
352 |  | Under Cabinet Plug Mould | 4 | 0% | 4 | EA | 70.2 | 280.8 | 109.8 | 439.2 | 71.5 | 3.9273 | 180 | 720
353 |  | Cable TV Receptacle | 7 | 0% | 7 | EA | 54.6 | 382.2 | 85.4 | 597.8 | 71.5 | 5.3455 | 140 | 980
354 |  | Electric Gas Meter | 1 | 0% | 1 | EA | 156 | 156 | 244 | 244 | 71.5 | 2.1818 | 400 | 400
355 |  | Sprinkler Control | 1 | 0% | 1 | EA | 70.2 | 70.2 | 109.8 | 109.8 | 71.5 | 0.98182 | 180 | 180
356 |  | Elecric Meter Socket | 1 | 0% | 1 | EA | 156 | 156 | 244 | 244 | 71.5 | 2.1818 | 400 | 400
357 |  | Ceiling Fan | 8 | 0% | 8 | EA | 198.9 | 1591.2 | 311.1 | 2488.8 | 71.5 | 22.2545 | 510 | 4080
358 |  | Smoke Detector | 8 | 0% | 8 | EA | 70.2 | 561.6 | 109.8 | 878.4 | 71.5 | 7.8545 | 180 | 1440
359 |  | Carbon Monoixde Detector | 3 | 0% | 3 | EA | 70.2 | 210.6 | 109.8 | 329.4 | 71.5 | 2.9455 | 180 | 540
ELECTRICAL PANELS ( ASSUMED NOT SHOWN IN PLANS)
360 |  | ELECTRICAL PANEL A : 100 AMP | 1 | 0% | 1 | EA | 487.5 | 487.5 | 762.5 | 762.5 | 71.5 | 6.8182 | 1250 | 1250
361 |  | ELECTRICAL PANEL B : 100 AMP | 1 | 0% | 1 | EA | 487.5 | 487.5 | 762.5 | 762.5 | 71.5 | 6.8182 | 1250 | 1250
362 |  | Allowances for Electrical Wiring | 1 | 0% | 1 | LS | 7215 | 7215 | 11285 | 11285 | 71.5 | 100.9091 | 18500 | 18500
363 |  | Allowances for Conduits | 1 | 0% | 1 | LS | 4095 | 4095 | 6405 | 6405 | 71.5 | 57.2727 | 10500 | 10500
| DIV. 31 | EARTHWORKS | [12 empty] | 133664.2326
364 |  | Excavation For Basement | 1829.3041 | 10% | 2012.2345 | CY | [6 empty] | 65 | 130795.2413
365 |  | Excavation For Countinous Footings | 28.202 | 10% | 31.0223 | CY | [6 empty] | 65 | 2016.4463
366 |  | Excavation For Pad Footings | 5.5817 | 10% | 6.1399 | CY | [6 empty] | 65 | 399.0908
367 |  | Excavation For Foundation Walls | 6.342 | 10% | 6.9762 | CY | [6 empty] | 65 | 453.4543
SUB TOTAL | [13 empty] | 1917022.5888 | 1917022.5888
INSURANCE | [12 empty] | 5% | 95851.1294 | 95851.1294
OVERHEAD AND PROFIT | [12 empty] | 20% | 383404.5178 | 383404.5178
TOTAL BASE BID | [13 empty] | 2396278.236 | 2396278.236